## Manajit et al. Type Strain
Title:
Date/Time: | 04.06.2024 | 15:28:54
Device: | qTOWER³/G | 3107B-1529
Operator:
Comments:
Colors+Dyes: | Pos | Color Module | Dye | Gain | Meas | Refr
| 1 | Blue.470.520.11.3 | FAM | 5 | *
| 2 | Green.515.545.11.2 | JOE | 5
Heated Lid: | 100°C
TC Protocol: | steps | scan | °C | m:s | goto | loops | delta Temp(°C) | delta Time (s) | ramp (°C/s
| 1 | * | 65 | 01:00 | 1 | 59 | 0 | 0 | 8
Melt active: | No
Meas. Repeats: | 3
Color Comp.:
Well | Sample name | Sample type | Dye | Gene | Ct | Mean Ct
A1 | Manajit - Type Strain 1800 gc/rxt | Unknown | FAM | EcfX | No Ct
A2 | Manajit - Type Strain 1800 gc/rxt | Unknown | FAM | EcfX | No Ct
A3 | Manajit - Type Strain 1800 gc/rxt | Unknown | FAM | EcfX | 48.71
A4 | Manajit - Type Strain 1800 gc/rxt | Unknown | FAM | EcfX | 47.03
A5 | Manajit - Type Strain 1800 gc/rxt | Unknown | FAM | EcfX | 41.15
A6 | Manajit - Type Strain 1800 gc/rxt | Unknown | FAM | EcfX | No Ct
A7 | Manajit - Type Strain 1800 gc/rxt | Unknown | FAM | EcfX | No Ct
A8 | Manajit - Type Strain 1800 gc/rxt | Unknown | FAM | EcfX | No Ct
A9 | Manajit - Type Strain 1800 gc/rxt | Unknown | FAM | EcfX | No Ct
A10 | Manajit - Type Strain 1800 gc/rxt | Unknown | FAM | EcfX | 48.96
A11 | Manajit - Type Strain 1800 gc/rxt | Unknown | FAM | EcfX | No Ct
A12 | Manajit - Type Strain 1800 gc/rxt | Unknown | FAM | EcfX | No Ct
B1 | Manajit - Type Strain 900 gc/rxt | Unknown | FAM | EcfX | No Ct
B2 | Manajit - Type Strain 900 gc/rxt | Unknown | FAM | EcfX | No Ct
B3 | Manajit - Type Strain 900 gc/rxt | Unknown | FAM | EcfX | No Ct
B4 | Manajit - Type Strain 900 gc/rxt | Unknown | FAM | EcfX | 31.91
B5 | Manajit - Type Strain 900 gc/rxt | Unknown | FAM | EcfX | 44.49
B6 | Manajit - Type Strain 900 gc/rxt | Unknown | FAM | EcfX | No Ct
B7 | Manajit - Type Strain 900 gc/rxt | Unknown | FAM | EcfX | No Ct
B8 | Manajit - Type Strain 900 gc/rxt | Unknown | FAM | EcfX | No Ct
B9 | Manajit - Type Strain 900 gc/rxt | Unknown | FAM | EcfX | No Ct
B10 | Manajit - Type Strain 900 gc/rxt | Unknown | FAM | EcfX | No Ct
B11 | Manajit - Type Strain 900 gc/rxt | Unknown | FAM | EcfX | No Ct
B12 | Manajit - Type Strain 900 gc/rxt | Unknown | FAM | EcfX | No Ct
C1 | Manajit - Type Strain 450 gc/rxt | Unknown | FAM | EcfX | No Ct
C2 | Manajit - Type Strain 450 gc/rxt | Unknown | FAM | EcfX | 45.36
C3 | Manajit - Type Strain 450 gc/rxt | Unknown | FAM | EcfX | No Ct
C4 | Manajit - Type Strain 450 gc/rxt | Unknown | FAM | EcfX | No Ct
C5 | Manajit - Type Strain 450 gc/rxt | Unknown | FAM | EcfX | No Ct
C6 | Manajit - Type Strain 450 gc/rxt | Unknown | FAM | EcfX | No Ct
C7 | Manajit - Type Strain 450 gc/rxt | Unknown | FAM | EcfX | No Ct
C8 | Manajit - Type Strain 450 gc/rxt | Unknown | FAM | EcfX | No Ct
C9 | Manajit - Type Strain 450 gc/rxt | Unknown | FAM | EcfX | No Ct
C10 | Manajit - Type Strain 450 gc/rxt | Unknown | FAM | EcfX | No Ct
C11 | Manajit - Type Strain 450 gc/rxt | Unknown | FAM | EcfX | No Ct
C12 | Manajit - Type Strain 450 gc/rxt | Unknown | FAM | EcfX | No Ct
D1 | Manajit - Type Strain 225 gc/rxt | Unknown | FAM | EcfX | No Ct
D2 | Manajit - Type Strain 225 gc/rxt | Unknown | FAM | EcfX | No Ct
D3 | Manajit - Type Strain 225 gc/rxt | Unknown | FAM | EcfX | 55.18
D4 | Manajit - Type Strain 225 gc/rxt | Unknown | FAM | EcfX | No Ct
D5 | Manajit - Type Strain 225 gc/rxt | Unknown | FAM | EcfX | No Ct
D6 | Manajit - Type Strain 225 gc/rxt | Unknown | FAM | EcfX | No Ct
D7 | Manajit - Type Strain 225 gc/rxt | Unknown | FAM | EcfX | No Ct
D8 | Manajit - Type Strain 225 gc/rxt | Unknown | FAM | EcfX | No Ct
D9 | Manajit - Type Strain 225 gc/rxt | Unknown | FAM | EcfX | No Ct
D10 | Manajit - Type Strain 225 gc/rxt | Unknown | FAM | EcfX | No Ct
D11 | Manajit - Type Strain 225 gc/rxt | Unknown | FAM | EcfX | No Ct
D12 | Manajit - Type Strain 225 gc/rxt | Unknown | FAM | EcfX | No Ct
E1 | Manajit - Type Strain 112.5 gc/rxt | Unknown | FAM | EcfX | No Ct
E2 | Manajit - Type Strain 112.5 gc/rxt | Unknown | FAM | EcfX | No Ct
E3 | Manajit - Type Strain 112.5 gc/rxt | Unknown | FAM | EcfX | 40.99
E4 | Manajit - Type Strain 112.5 gc/rxt | Unknown | FAM | EcfX | 52.64
E5 | Manajit - Type Strain 112.5 gc/rxt | Unknown | FAM | EcfX | No Ct
E6 | Manajit - Type Strain 112.5 gc/rxt | Unknown | FAM | EcfX | No Ct
E7 | Manajit - Type Strain 112.5 gc/rxt | Unknown | FAM | EcfX | No Ct
E8 | Manajit - Type Strain 112.5 gc/rxt | Unknown | FAM | EcfX | No Ct
E9 | Manajit - Type Strain 112.5 gc/rxt | Unknown | FAM | EcfX | No Ct
E10 | Manajit - Type Strain 112.5 gc/rxt | Unknown | FAM | EcfX | No Ct
E11 | Manajit - Type Strain 112.5 gc/rxt | Unknown | FAM | EcfX | No Ct
E12 | Manajit - Type Strain 112.5 gc/rxt | Unknown | FAM | EcfX | No Ct
F1 | Manajit - Type Strain 56.25 gc/rxt | Unknown | FAM | EcfX | No Ct
F2 | Manajit - Type Strain 56.25 gc/rxt | Unknown | FAM | EcfX | No Ct
F3 | Manajit - Type Strain 56.25 gc/rxt | Unknown | FAM | EcfX | No Ct
F4 | Manajit - Type Strain 56.25 gc/rxt | Unknown | FAM | EcfX | No Ct
F5 | Manajit - Type Strain 56.25 gc/rxt | Unknown | FAM | EcfX | No Ct
F6 | Manajit - Type Strain 56.25 gc/rxt | Unknown | FAM | EcfX | No Ct
F7 | Manajit - Type Strain 56.25 gc/rxt | Unknown | FAM | EcfX | No Ct
F8 | Manajit - Type Strain 56.25 gc/rxt | Unknown | FAM | EcfX | No Ct
F9 | Manajit - Type Strain 56.25 gc/rxt | Unknown | FAM | EcfX | No Ct
F10 | Manajit - Type Strain 56.25 gc/rxt | Unknown | FAM | EcfX | 56.59
F11 | Manajit - Type Strain 56.25 gc/rxt | Unknown | FAM | EcfX | No Ct
F12 | Manajit - Type Strain 56.25 gc/rxt | Unknown | FAM | EcfX | No Ct
G1 | Manajit - Type Strain 28.125 gc/rxt | Unknown | FAM | EcfX | No Ct
G2 | Manajit - Type Strain 28.125 gc/rxt | Unknown | FAM | EcfX | No Ct
G3 | Manajit - Type Strain 28.125 gc/rxt | Unknown | FAM | EcfX | No Ct
G4 | Manajit - Type Strain 28.125 gc/rxt | Unknown | FAM | EcfX | No Ct
G5 | Manajit - Type Strain 28.125 gc/rxt | Unknown | FAM | EcfX | 43.55
G6 | Manajit - Type Strain 28.125 gc/rxt | Unknown | FAM | EcfX | No Ct
G7 | Manajit - Type Strain 28.125 gc/rxt | Unknown | FAM | EcfX | No Ct
G8 | Manajit - Type Strain 28.125 gc/rxt | Unknown | FAM | EcfX | No Ct
G9 | Manajit - Type Strain 28.125 gc/rxt | Unknown | FAM | EcfX | No Ct
G10 | Manajit - Type Strain 28.125 gc/rxt | Unknown | FAM | EcfX | No Ct
G11 | Manajit - Type Strain 28.125 gc/rxt | Unknown | FAM | EcfX | No Ct
G12 | Manajit - Type Strain 28.125 gc/rxt | Unknown | FAM | EcfX | No Ct
H1 | Manajit - Type Strain 14.063 gc/rxt | Unknown | FAM | EcfX | No Ct
H2 | Manajit - Type Strain 14.063 gc/rxt | Unknown | FAM | EcfX | No Ct
H3 | Manajit - Type Strain 14.063 gc/rxt | Unknown | FAM | EcfX | No Ct
H4 | Manajit - Type Strain 14.063 gc/rxt | Unknown | FAM | EcfX | No Ct
H5 | Manajit - Type Strain 14.063 gc/rxt | Unknown | FAM | EcfX | No Ct
H6 | Manajit - Type Strain 14.063 gc/rxt | Unknown | FAM | EcfX | No Ct
H7 | Manajit - Type Strain 14.063 gc/rxt | Unknown | FAM | EcfX | No Ct
H8 | Manajit - Type Strain 14.063 gc/rxt | Unknown | FAM | EcfX | No Ct
H9 | Manajit - Type Strain 14.063 gc/rxt | Unknown | FAM | EcfX | No Ct
H10 | Manajit - Type Strain 14.063 gc/rxt | Unknown | FAM | EcfX | 43.29
H11 | Manajit - Type Strain 14.063 gc/rxt | Unknown | FAM | EcfX | No Ct
H12 | Manajit - Type Strain 14.063 gc/rxt | Unknown | FAM | EcfX | No Ct
Title:
Date/Time: | 18.06.2024 | 11:00:46
Device: | qTOWER³/G | 3107B-1529
Operator:
Comments:
Colors+Dyes: | Pos | Color Module | Dye | Gain | Meas | Refr
| 1 | Blue.470.520.11.3 | FAM | 5 | *
| 2 | Green.515.545.11.2 | JOE | 5
Heated Lid: | 100°C
TC Protocol: | steps | scan | °C | m:s | goto | loops | delta Temp(°C) | delta Time (s) | ramp (°C/s
| 1 | * | 65 | 01:00 | 1 | 59 | 0 | 0 | 8
Melt active: | No
Meas. Repeats: | 3
Color Comp.:
Well | Sample name | Sample type | Dye | Gene | Ct | Mean Ct
A1 | Manajit - Type Strain 3600 gc/rxt | Unknown | FAM | EcfX | No Ct
A2 | Manajit - Type Strain 3600 gc/rxt | Unknown | FAM | EcfX | No Ct
A3 | Manajit - Type Strain 3600 gc/rxt | Unknown | FAM | EcfX | No Ct
A4 | Manajit - Type Strain 3600 gc/rxt | Unknown | FAM | EcfX | No Ct
A5 | Manajit - Type Strain 3600 gc/rxt | Unknown | FAM | EcfX | No Ct
A6 | Manajit - Type Strain 3600 gc/rxt | Unknown | FAM | EcfX | No Ct
A7 | Manajit - Type Strain 3600 gc/rxt | Unknown | FAM | EcfX | No Ct
A8 | Manajit - Type Strain 3600 gc/rxt | Unknown | FAM | EcfX | 6.58
A9 | Manajit - Type Strain 3600 gc/rxt | Unknown | FAM | EcfX | No Ct
A10 | Manajit - Type Strain 3600 gc/rxt | Unknown | FAM | EcfX | No Ct
A11 | Manajit - Type Strain 3600 gc/rxt | Unknown | FAM | EcfX | No Ct
A12 | Manajit - Type Strain 3600 gc/rxt | Unknown | FAM | EcfX | No Ct
B1 | Manajit - Type Strain 7200 gc/rxt | Unknown | FAM | EcfX | No Ct
B2 | Manajit - Type Strain 7200 gc/rxt | Unknown | FAM | EcfX | No Ct
B3 | Manajit - Type Strain 7200 gc/rxt | Unknown | FAM | EcfX | 7.08
B4 | Manajit - Type Strain 7200 gc/rxt | Unknown | FAM | EcfX | No Ct
B5 | Manajit - Type Strain 7200 gc/rxt | Unknown | FAM | EcfX | No Ct
B6 | Manajit - Type Strain 7200 gc/rxt | Unknown | FAM | EcfX | No Ct
B7 | Manajit - Type Strain 7200 gc/rxt | Unknown | FAM | EcfX | No Ct
B8 | Manajit - Type Strain 7200 gc/rxt | Unknown | FAM | EcfX | No Ct
B9 | Manajit - Type Strain 7200 gc/rxt | Unknown | FAM | EcfX | 6.31
B10 | Manajit - Type Strain 7200 gc/rxt | Unknown | FAM | EcfX | 6.75
B11 | Manajit - Type Strain 7200 gc/rxt | Unknown | FAM | EcfX | No Ct
B12 | Manajit - Type Strain 7200 gc/rxt | Unknown | FAM | EcfX | No Ct
C1 | Manajit - Type Strain 14400 gc/rxt | Unknown | FAM | EcfX | No Ct
C2 | Manajit - Type Strain 14400 gc/rxt | Unknown | FAM | EcfX | No Ct
C3 | Manajit - Type Strain 14400 gc/rxt | Unknown | FAM | EcfX | No Ct
C4 | Manajit - Type Strain 14400 gc/rxt | Unknown | FAM | EcfX | No Ct
C5 | Manajit - Type Strain 14400 gc/rxt | Unknown | FAM | EcfX | No Ct
C6 | Manajit - Type Strain 14400 gc/rxt | Unknown | FAM | EcfX | No Ct
C7 | Manajit - Type Strain 14400 gc/rxt | Unknown | FAM | EcfX | No Ct
C8 | Manajit - Type Strain 14400 gc/rxt | Unknown | FAM | EcfX | No Ct
C9 | Manajit - Type Strain 14400 gc/rxt | Unknown | FAM | EcfX | No Ct
C10 | Manajit - Type Strain 14400 gc/rxt | Unknown | FAM | EcfX | 6.07
C11 | Manajit - Type Strain 14400 gc/rxt | Unknown | FAM | EcfX | No Ct
C12 | Manajit - Type Strain 14400 gc/rxt | Unknown | FAM | EcfX | No Ct
D1 | Manajit - Type Strain 7.031 gc/rxt | Unknown | FAM | EcfX | No Ct
D2 | Manajit - Type Strain 7.031 gc/rxt | Unknown | FAM | EcfX | No Ct
D3 | Manajit - Type Strain 7.031 gc/rxt | Unknown | FAM | EcfX | No Ct
D4 | Manajit - Type Strain 7.031 gc/rxt | Unknown | FAM | EcfX | No Ct
D5 | Manajit - Type Strain 7.031 gc/rxt | Unknown | FAM | EcfX | No Ct
D6 | Manajit - Type Strain 7.031 gc/rxt | Unknown | FAM | EcfX | No Ct
D7 | Manajit - Type Strain 7.031 gc/rxt | Unknown | FAM | EcfX | No Ct
D8 | Manajit - Type Strain 7.031 gc/rxt | Unknown | FAM | EcfX | No Ct
D9 | Manajit - Type Strain 7.031 gc/rxt | Unknown | FAM | EcfX | No Ct
D10 | Manajit - Type Strain 7.031 gc/rxt | Unknown | FAM | EcfX | No Ct
D11 | Manajit - Type Strain 7.031 gc/rxt | Unknown | FAM | EcfX | No Ct
D12 | Manajit - Type Strain 7.031 gc/rxt | Unknown | FAM | EcfX | No Ct
Title:
Date/Time: | 21.06.2024 | 10:43:00
Device: | qTOWER³/G | 3107B-1529
Operator:
Comments:
Colors+Dyes: | Pos | Color Module | Dye | Gain | Meas | Refr
| 1 | Blue.470.520.11.3 | FAM | 5 | *
| 2 | Green.515.545.11.2 | JOE | 5
Heated Lid: | 100°C
TC Protocol: | steps | scan | °C | m:s | goto | loops | delta Temp(°C) | delta Time (s) | ramp (°C/s
| 1 | * | 65 | 01:00 | 1 | 59 | 0 | 0 | 8
Melt active: | No
Meas. Repeats: | 3
Color Comp.:
Well | Sample name | Sample type | Dye | Gene | Ct | Mean Ct
A1 | Manajit - Type Strain 28800 gc/rxt | Unknown | FAM | EcfX | 44.42
A2 | Manajit - Type Strain 28800 gc/rxt | Unknown | FAM | EcfX | 31.9
A3 | Manajit - Type Strain 28800 gc/rxt | Unknown | FAM | EcfX | 34.54
A4 | Manajit - Type Strain 28800 gc/rxt | Unknown | FAM | EcfX | 36.39
A5 | Manajit - Type Strain 28800 gc/rxt | Unknown | FAM | EcfX | 36.19
A6 | Manajit - Type Strain 28800 gc/rxt | Unknown | FAM | EcfX | 29.67
A7 | Manajit - Type Strain 28800 gc/rxt | Unknown | FAM | EcfX | 29.14
A8 | Manajit - Type Strain 28800 gc/rxt | Unknown | FAM | EcfX | 38.81
A9 | Manajit - Type Strain 28800 gc/rxt | Unknown | FAM | EcfX | 30.48
A10 | Manajit - Type Strain 28800 gc/rxt | Unknown | FAM | EcfX | 32.3
A11 | Manajit - Type Strain 28800 gc/rxt | Unknown | FAM | EcfX | 33.65
A12 | Manajit - Type Strain 28800 gc/rxt | Unknown | FAM | EcfX | 31.85
B1 | Manajit - Type Strain 57600 gc/rxt | Unknown | FAM | EcfX | 32.12
B2 | Manajit - Type Strain 57600 gc/rxt | Unknown | FAM | EcfX | 32.09
B3 | Manajit - Type Strain 57600 gc/rxt | Unknown | FAM | EcfX | 36.14
B4 | Manajit - Type Strain 57600 gc/rxt | Unknown | FAM | EcfX | 34.14
B5 | Manajit - Type Strain 57600 gc/rxt | Unknown | FAM | EcfX | 31.93
B6 | Manajit - Type Strain 57600 gc/rxt | Unknown | FAM | EcfX | 33.04
B7 | Manajit - Type Strain 57600 gc/rxt | Unknown | FAM | EcfX | 38.58
B8 | Manajit - Type Strain 57600 gc/rxt | Unknown | FAM | EcfX | 34.39
B9 | Manajit - Type Strain 57600 gc/rxt | Unknown | FAM | EcfX | 39.18
B10 | Manajit - Type Strain 57600 gc/rxt | Unknown | FAM | EcfX | 35.11
B11 | Manajit - Type Strain 57600 gc/rxt | Unknown | FAM | EcfX | 35.42
B12 | Manajit - Type Strain 57600 gc/rxt | Unknown | FAM | EcfX | 36.22

## Manajit et al. Environmental Is
Title:
Date/Time: | 05.06.2024 | 10:58:19
Device: | qTOWER³/G | 3107B-1529
Operator:
Comments:
Colors+Dyes: | Pos | Color Module | Dye | Gain | Meas | Refr
| 1 | Blue.470.520.11.3 | FAM | 5 | *
| 2 | Green.515.545.11.2 | JOE | 5
Heated Lid: | 100°C
TC Protocol: | steps | scan | °C | m:s | goto | loops | delta Temp(°C) | delta Time (s) | ramp (°C/s
| 1 | * | 65 | 01:00 | 1 | 59 | 0 | 0 | 8
Melt active: | No
Meas. Repeats: | 3
Color Comp.:
Well | Sample name | Sample type | Dye | Gene | Ct | Mean Ct
A1 | Manajit - Environmental Isolate 1 1400 gc/rxt | Unknown | FAM | EcfX | 42.41
A2 | Manajit - Environmental Isolate 1 1400 gc/rxt | Unknown | FAM | EcfX | 35.47
A3 | Manajit - Environmental Isolate 1 1400 gc/rxt | Unknown | FAM | EcfX | 38.96
A4 | Manajit - Environmental Isolate 1 1400 gc/rxt | Unknown | FAM | EcfX | 34.87
A5 | Manajit - Environmental Isolate 1 1400 gc/rxt | Unknown | FAM | EcfX | 34.17
A6 | Manajit - Environmental Isolate 1 1400 gc/rxt | Unknown | FAM | EcfX | 41.24
A7 | Manajit - Environmental Isolate 1 1400 gc/rxt | Unknown | FAM | EcfX | 36.21
A8 | Manajit - Environmental Isolate 1 1400 gc/rxt | Unknown | FAM | EcfX | 38.1
A9 | Manajit - Environmental Isolate 1 1400 gc/rxt | Unknown | FAM | EcfX | 33.1
A10 | Manajit - Environmental Isolate 1 1400 gc/rxt | Unknown | FAM | EcfX | 31.17
A11 | Manajit - Environmental Isolate 1 1400 gc/rxt | Unknown | FAM | EcfX | No Ct
A12 | Manajit - Environmental Isolate 1 1400 gc/rxt | Unknown | FAM | EcfX | No Ct
B1 | Manajit - Environmental Isolate 1 700 gc/rxt | Unknown | FAM | EcfX | No Ct
B2 | Manajit - Environmental Isolate 1 700 gc/rxt | Unknown | FAM | EcfX | No Ct
B3 | Manajit - Environmental Isolate 1 700 gc/rxt | Unknown | FAM | EcfX | 38.05
B4 | Manajit - Environmental Isolate 1 700 gc/rxt | Unknown | FAM | EcfX | 52.97
B5 | Manajit - Environmental Isolate 1 700 gc/rxt | Unknown | FAM | EcfX | 35.02
B6 | Manajit - Environmental Isolate 1 700 gc/rxt | Unknown | FAM | EcfX | 39.25
B7 | Manajit - Environmental Isolate 1 700 gc/rxt | Unknown | FAM | EcfX | 47.29
B8 | Manajit - Environmental Isolate 1 700 gc/rxt | Unknown | FAM | EcfX | 39.39
B9 | Manajit - Environmental Isolate 1 700 gc/rxt | Unknown | FAM | EcfX | 47.76
B10 | Manajit - Environmental Isolate 1 700 gc/rxt | Unknown | FAM | EcfX | 40.81
B11 | Manajit - Environmental Isolate 1 700 gc/rxt | Unknown | FAM | EcfX | 42.56
B12 | Manajit - Environmental Isolate 1 700 gc/rxt | Unknown | FAM | EcfX | 48.07
C1 | Manajit - Environmental Isolate 1 350 gc/rxt | Unknown | FAM | EcfX | No Ct
C2 | Manajit - Environmental Isolate 1 350 gc/rxt | Unknown | FAM | EcfX | No Ct
C3 | Manajit - Environmental Isolate 1 350 gc/rxt | Unknown | FAM | EcfX | No Ct
C4 | Manajit - Environmental Isolate 1 350 gc/rxt | Unknown | FAM | EcfX | 46.63
C5 | Manajit - Environmental Isolate 1 350 gc/rxt | Unknown | FAM | EcfX | 46.57
C6 | Manajit - Environmental Isolate 1 350 gc/rxt | Unknown | FAM | EcfX | No Ct
C7 | Manajit - Environmental Isolate 1 350 gc/rxt | Unknown | FAM | EcfX | 43.81
C8 | Manajit - Environmental Isolate 1 350 gc/rxt | Unknown | FAM | EcfX | 43.12
C9 | Manajit - Environmental Isolate 1 350 gc/rxt | Unknown | FAM | EcfX | No Ct
C10 | Manajit - Environmental Isolate 1 350 gc/rxt | Unknown | FAM | EcfX | No Ct
C11 | Manajit - Environmental Isolate 1 350 gc/rxt | Unknown | FAM | EcfX | No Ct
C12 | Manajit - Environmental Isolate 1 350 gc/rxt | Unknown | FAM | EcfX | 47.62
D1 | Manajit - Environmental Isolate 1 175 gc/rxt | Unknown | FAM | EcfX | No Ct
D2 | Manajit - Environmental Isolate 1 175 gc/rxt | Unknown | FAM | EcfX | No Ct
D3 | Manajit - Environmental Isolate 1 175 gc/rxt | Unknown | FAM | EcfX | 41.09
D4 | Manajit - Environmental Isolate 1 175 gc/rxt | Unknown | FAM | EcfX | No Ct
D5 | Manajit - Environmental Isolate 1 175 gc/rxt | Unknown | FAM | EcfX | 50.35
D6 | Manajit - Environmental Isolate 1 175 gc/rxt | Unknown | FAM | EcfX | 46.93
D7 | Manajit - Environmental Isolate 1 175 gc/rxt | Unknown | FAM | EcfX | 46.03
D8 | Manajit - Environmental Isolate 1 175 gc/rxt | Unknown | FAM | EcfX | No Ct
D9 | Manajit - Environmental Isolate 1 175 gc/rxt | Unknown | FAM | EcfX | 45.4
D10 | Manajit - Environmental Isolate 1 175 gc/rxt | Unknown | FAM | EcfX | No Ct
D11 | Manajit - Environmental Isolate 1 175 gc/rxt | Unknown | FAM | EcfX | No Ct
D12 | Manajit - Environmental Isolate 1 175 gc/rxt | Unknown | FAM | EcfX | No Ct
E1 | Manajit - Environmental Isolate 1 87.5 gc/rxt | Unknown | FAM | EcfX | 54.68
E2 | Manajit - Environmental Isolate 1 87.5 gc/rxt | Unknown | FAM | EcfX | No Ct
E3 | Manajit - Environmental Isolate 1 87.5 gc/rxt | Unknown | FAM | EcfX | 39
E4 | Manajit - Environmental Isolate 1 87.5 gc/rxt | Unknown | FAM | EcfX | No Ct
E5 | Manajit - Environmental Isolate 1 87.5 gc/rxt | Unknown | FAM | EcfX | 40.27
E6 | Manajit - Environmental Isolate 1 87.5 gc/rxt | Unknown | FAM | EcfX | No Ct
E7 | Manajit - Environmental Isolate 1 87.5 gc/rxt | Unknown | FAM | EcfX | No Ct
E8 | Manajit - Environmental Isolate 1 87.5 gc/rxt | Unknown | FAM | EcfX | No Ct
E9 | Manajit - Environmental Isolate 1 87.5 gc/rxt | Unknown | FAM | EcfX | 49.58
E10 | Manajit - Environmental Isolate 1 87.5 gc/rxt | Unknown | FAM | EcfX | No Ct
E11 | Manajit - Environmental Isolate 1 87.5 gc/rxt | Unknown | FAM | EcfX | No Ct
E12 | Manajit - Environmental Isolate 1 87.5 gc/rxt | Unknown | FAM | EcfX | 49.24
F1 | Manajit - Environmental Isolate 1 43.75 gc/rxt | Unknown | FAM | EcfX | 45.41
F2 | Manajit - Environmental Isolate 1 43.75 gc/rxt | Unknown | FAM | EcfX | No Ct
F3 | Manajit - Environmental Isolate 1 43.75 gc/rxt | Unknown | FAM | EcfX | No Ct
F4 | Manajit - Environmental Isolate 1 43.75 gc/rxt | Unknown | FAM | EcfX | 48.92
F5 | Manajit - Environmental Isolate 1 43.75 gc/rxt | Unknown | FAM | EcfX | No Ct
F6 | Manajit - Environmental Isolate 1 43.75 gc/rxt | Unknown | FAM | EcfX | No Ct
F7 | Manajit - Environmental Isolate 1 43.75 gc/rxt | Unknown | FAM | EcfX | 20.68
F8 | Manajit - Environmental Isolate 1 43.75 gc/rxt | Unknown | FAM | EcfX | No Ct
F9 | Manajit - Environmental Isolate 1 43.75 gc/rxt | Unknown | FAM | EcfX | No Ct
F10 | Manajit - Environmental Isolate 1 43.75 gc/rxt | Unknown | FAM | EcfX | No Ct
F11 | Manajit - Environmental Isolate 1 43.75 gc/rxt | Unknown | FAM | EcfX | No Ct
F12 | Manajit - Environmental Isolate 1 43.75 gc/rxt | Unknown | FAM | EcfX | No Ct
G1 | Manajit - Environmental Isolate 1 21.875 gc/rxt | Unknown | FAM | EcfX | No Ct
G2 | Manajit - Environmental Isolate 1 21.875 gc/rxt | Unknown | FAM | EcfX | No Ct
G3 | Manajit - Environmental Isolate 1 21.875 gc/rxt | Unknown | FAM | EcfX | No Ct
G4 | Manajit - Environmental Isolate 1 21.875 gc/rxt | Unknown | FAM | EcfX | No Ct
G5 | Manajit - Environmental Isolate 1 21.875 gc/rxt | Unknown | FAM | EcfX | 35.02
G6 | Manajit - Environmental Isolate 1 21.875 gc/rxt | Unknown | FAM | EcfX | No Ct
G7 | Manajit - Environmental Isolate 1 21.875 gc/rxt | Unknown | FAM | EcfX | No Ct
G8 | Manajit - Environmental Isolate 1 21.875 gc/rxt | Unknown | FAM | EcfX | No Ct
G9 | Manajit - Environmental Isolate 1 21.875 gc/rxt | Unknown | FAM | EcfX | No Ct
G10 | Manajit - Environmental Isolate 1 21.875 gc/rxt | Unknown | FAM | EcfX | 42.44
G11 | Manajit - Environmental Isolate 1 21.875 gc/rxt | Unknown | FAM | EcfX | 55.09
G12 | Manajit - Environmental Isolate 1 21.875 gc/rxt | Unknown | FAM | EcfX | No Ct
H1 | Manajit - Environmental Isolate 1 10.938 gc/rxt | Unknown | FAM | EcfX | No Ct
H2 | Manajit - Environmental Isolate 1 10.938 gc/rxt | Unknown | FAM | EcfX | 36.12
H3 | Manajit - Environmental Isolate 1 10.938 gc/rxt | Unknown | FAM | EcfX | No Ct
H4 | Manajit - Environmental Isolate 1 10.938 gc/rxt | Unknown | FAM | EcfX | No Ct
H5 | Manajit - Environmental Isolate 1 10.938 gc/rxt | Unknown | FAM | EcfX | No Ct
H6 | Manajit - Environmental Isolate 1 10.938 gc/rxt | Unknown | FAM | EcfX | 42.57
H7 | Manajit - Environmental Isolate 1 10.938 gc/rxt | Unknown | FAM | EcfX | No Ct
H8 | Manajit - Environmental Isolate 1 10.938 gc/rxt | Unknown | FAM | EcfX | No Ct
H9 | Manajit - Environmental Isolate 1 10.938 gc/rxt | Unknown | FAM | EcfX | No Ct
H10 | Manajit - Environmental Isolate 1 10.938 gc/rxt | Unknown | FAM | EcfX | No Ct
H11 | Manajit - Environmental Isolate 1 10.938 gc/rxt | Unknown | FAM | EcfX | No Ct
H12 | Manajit - Environmental Isolate 1 10.938 gc/rxt | Unknown | FAM | EcfX | 43.35
Title:
Date/Time: | 21.06.2024 | 13:42:42
Device: | qTOWER³/G | 3107B-1529
Operator:
Comments:
Colors+Dyes: | Pos | Color Module | Dye | Gain | Meas | Refr
| 1 | Blue.470.520.11.3 | FAM | 5 | *
| 2 | Green.515.545.11.2 | JOE | 5
Heated Lid: | 100°C
TC Protocol: | steps | scan | °C | m:s | goto | loops | delta Temp(°C) | delta Time (s) | ramp (°C/s
| 1 | * | 65 | 01:00 | 1 | 59 | 0 | 0 | 8
Melt active: | No
Meas. Repeats: | 3
Color Comp.:
Well | Sample name | Sample type | Dye | Gene | Ct | Mean Ct
A1 | Manajit - Environmental Isolate 1 2800 gc/rxt | Unknown | FAM | EcfX | 35.13
A2 | Manajit - Environmental Isolate 1 2800 gc/rxt | Unknown | FAM | EcfX | 31.57
A3 | Manajit - Environmental Isolate 1 2800 gc/rxt | Unknown | FAM | EcfX | 31.46
A4 | Manajit - Environmental Isolate 1 2800 gc/rxt | Unknown | FAM | EcfX | 29.43
A5 | Manajit - Environmental Isolate 1 2800 gc/rxt | Unknown | FAM | EcfX | 30.94
A6 | Manajit - Environmental Isolate 1 2800 gc/rxt | Unknown | FAM | EcfX | 33.02
A7 | Manajit - Environmental Isolate 1 2800 gc/rxt | Unknown | FAM | EcfX | 27.53
A8 | Manajit - Environmental Isolate 1 2800 gc/rxt | Unknown | FAM | EcfX | 31.59
A9 | Manajit - Environmental Isolate 1 2800 gc/rxt | Unknown | FAM | EcfX | 29.5
A10 | Manajit - Environmental Isolate 1 2800 gc/rxt | Unknown | FAM | EcfX | 29.18
A11 | Manajit - Environmental Isolate 1 2800 gc/rxt | Unknown | FAM | EcfX | 32.93
A12 | Manajit - Environmental Isolate 1 2800 gc/rxt | Unknown | FAM | EcfX | 33.14
B1 | Manajit - Environmental Isolate1 5.469 gc/rxt | Unknown | FAM | EcfX | No Ct
B2 | Manajit - Environmental Isolate1 5.469 gc/rxt | Unknown | FAM | EcfX | No Ct
B3 | Manajit - Environmental Isolate1 5.469 gc/rxt | Unknown | FAM | EcfX | No Ct
B4 | Manajit - Environmental Isolate1 5.469 gc/rxt | Unknown | FAM | EcfX | No Ct
B5 | Manajit - Environmental Isolate1 5.469 gc/rxt | Unknown | FAM | EcfX | No Ct
B6 | Manajit - Environmental Isolate1 5.469 gc/rxt | Unknown | FAM | EcfX | No Ct
B7 | Manajit - Environmental Isolate1 5.469 gc/rxt | Unknown | FAM | EcfX | No Ct
B8 | Manajit - Environmental Isolate1 5.469 gc/rxt | Unknown | FAM | EcfX | No Ct
B9 | Manajit - Environmental Isolate1 5.469 gc/rxt | Unknown | FAM | EcfX | No Ct
B10 | Manajit - Environmental Isolate1 5.469 gc/rxt | Unknown | FAM | EcfX | No Ct
B11 | Manajit - Environmental Isolate1 5.469 gc/rxt | Unknown | FAM | EcfX | No Ct
B12 | Manajit - Environmental Isolate1 5.469 gc/rxt | Unknown | FAM | EcfX | No Ct
C1 | Manajit - Environmental Isolate1 2.734 gc/rxt | Unknown | FAM | EcfX | No Ct
C2 | Manajit - Environmental Isolate1 2.734 gc/rxt | Unknown | FAM | EcfX | No Ct
C3 | Manajit - Environmental Isolate1 2.734 gc/rxt | Unknown | FAM | EcfX | No Ct
C4 | Manajit - Environmental Isolate1 2.734 gc/rxt | Unknown | FAM | EcfX | No Ct
C5 | Manajit - Environmental Isolate1 2.734 gc/rxt | Unknown | FAM | EcfX | No Ct
C6 | Manajit - Environmental Isolate1 2.734 gc/rxt | Unknown | FAM | EcfX | No Ct
C7 | Manajit - Environmental Isolate1 2.734 gc/rxt | Unknown | FAM | EcfX | No Ct
C8 | Manajit - Environmental Isolate1 2.734 gc/rxt | Unknown | FAM | EcfX | No Ct
C9 | Manajit - Environmental Isolate1 2.734 gc/rxt | Unknown | FAM | EcfX | No Ct
C10 | Manajit - Environmental Isolate1 2.734 gc/rxt | Unknown | FAM | EcfX | No Ct
C11 | Manajit - Environmental Isolate1 2.734 gc/rxt | Unknown | FAM | EcfX | No Ct
C12 | Manajit - Environmental Isolate1 2.734 gc/rxt | Unknown | FAM | EcfX | No Ct

## Manajit et al. Clinical Isolate
Title:
Date/Time: | 04.06.2024 | 16:42:41
Device: | qTOWER³/G | 3107B-1529
Operator:
Comments:
Colors+Dyes: | Pos | Color Module | Dye | Gain | Meas | Refr
| 1 | Blue.470.520.11.3 | FAM | 5 | *
| 2 | Green.515.545.11.2 | JOE | 5
Heated Lid: | 100°C
TC Protocol: | steps | scan | °C | m:s | goto | loops | delta Temp(°C) | delta Time (s) | ramp (°C/s
| 1 | * | 65 | 01:00 | 1 | 59 | 0 | 0 | 8
Melt active: | No
Meas. Repeats: | 3
Color Comp.:
Well | Sample name | Sample type | Dye | Gene | Ct | Mean Ct
A1 | Manajit - Clinical Isolate 1 480 gc/rxt | Unknown | FAM | EcfX | 44.18
A2 | Manajit - Clinical Isolate 1 480 gc/rxt | Unknown | FAM | EcfX | 45.7
A3 | Manajit - Clinical Isolate 1 480 gc/rxt | Unknown | FAM | EcfX | 31.36
A4 | Manajit - Clinical Isolate 1 480 gc/rxt | Unknown | FAM | EcfX | 31.03
A5 | Manajit - Clinical Isolate 1 480 gc/rxt | Unknown | FAM | EcfX | 33.7
A6 | Manajit - Clinical Isolate 1 480 gc/rxt | Unknown | FAM | EcfX | 27.29
A7 | Manajit - Clinical Isolate 1 480 gc/rxt | Unknown | FAM | EcfX | 35.64
A8 | Manajit - Clinical Isolate 1 480 gc/rxt | Unknown | FAM | EcfX | 31.83
A9 | Manajit - Clinical Isolate 1 480 gc/rxt | Unknown | FAM | EcfX | 29.3
A10 | Manajit - Clinical Isolate 1 480 gc/rxt | Unknown | FAM | EcfX | 30.4
A11 | Manajit - Clinical Isolate 1 480 gc/rxt | Unknown | FAM | EcfX | 44.58
A12 | Manajit - Clinical Isolate 1 480 gc/rxt | Unknown | FAM | EcfX | No Ct
B1 | Manajit - Clinical Isolate 1 240 gc/rxt | Unknown | FAM | EcfX | No Ct
B2 | Manajit - Clinical Isolate 1 240 gc/rxt | Unknown | FAM | EcfX | 34
B3 | Manajit - Clinical Isolate 1 240 gc/rxt | Unknown | FAM | EcfX | 39.13
B4 | Manajit - Clinical Isolate 1 240 gc/rxt | Unknown | FAM | EcfX | No Ct
B5 | Manajit - Clinical Isolate 1 240 gc/rxt | Unknown | FAM | EcfX | 35.43
B6 | Manajit - Clinical Isolate 1 240 gc/rxt | Unknown | FAM | EcfX | 40.53
B7 | Manajit - Clinical Isolate 1 240 gc/rxt | Unknown | FAM | EcfX | 34.63
B8 | Manajit - Clinical Isolate 1 240 gc/rxt | Unknown | FAM | EcfX | 29.45
B9 | Manajit - Clinical Isolate 1 240 gc/rxt | Unknown | FAM | EcfX | 31.96
B10 | Manajit - Clinical Isolate 1 240 gc/rxt | Unknown | FAM | EcfX | No Ct
B11 | Manajit - Clinical Isolate 1 240 gc/rxt | Unknown | FAM | EcfX | 35.52
B12 | Manajit - Clinical Isolate 1 240 gc/rxt | Unknown | FAM | EcfX | 35.79
C1 | Manajit - Clinical Isolate 1 120 gc/rxt | Unknown | FAM | EcfX | 37.01
C2 | Manajit - Clinical Isolate 1 120 gc/rxt | Unknown | FAM | EcfX | 31.12
C3 | Manajit - Clinical Isolate 1 120 gc/rxt | Unknown | FAM | EcfX | No Ct
C4 | Manajit - Clinical Isolate 1 120 gc/rxt | Unknown | FAM | EcfX | No Ct
C5 | Manajit - Clinical Isolate 1 120 gc/rxt | Unknown | FAM | EcfX | 33.23
C6 | Manajit - Clinical Isolate 1 120 gc/rxt | Unknown | FAM | EcfX | No Ct
C7 | Manajit - Clinical Isolate 1 120 gc/rxt | Unknown | FAM | EcfX | 29.35
C8 | Manajit - Clinical Isolate 1 120 gc/rxt | Unknown | FAM | EcfX | No Ct
C9 | Manajit - Clinical Isolate 1 120 gc/rxt | Unknown | FAM | EcfX | No Ct
C10 | Manajit - Clinical Isolate 1 120 gc/rxt | Unknown | FAM | EcfX | 33.92
C11 | Manajit - Clinical Isolate 1 120 gc/rxt | Unknown | FAM | EcfX | 38.32
C12 | Manajit - Clinical Isolate 1 120 gc/rxt | Unknown | FAM | EcfX | No Ct
D1 | Manajit - Clinical Isolate 1 60 gc/rxt | Unknown | FAM | EcfX | No Ct
D2 | Manajit - Clinical Isolate 1 60 gc/rxt | Unknown | FAM | EcfX | No Ct
D3 | Manajit - Clinical Isolate 1 60 gc/rxt | Unknown | FAM | EcfX | 40.43
D4 | Manajit - Clinical Isolate 1 60 gc/rxt | Unknown | FAM | EcfX | 24.88
D5 | Manajit - Clinical Isolate 1 60 gc/rxt | Unknown | FAM | EcfX | 36.15
D6 | Manajit - Clinical Isolate 1 60 gc/rxt | Unknown | FAM | EcfX | 49.08
D7 | Manajit - Clinical Isolate 1 60 gc/rxt | Unknown | FAM | EcfX | 33.32
D8 | Manajit - Clinical Isolate 1 60 gc/rxt | Unknown | FAM | EcfX | 46.22
D9 | Manajit - Clinical Isolate 1 60 gc/rxt | Unknown | FAM | EcfX | No Ct
D10 | Manajit - Clinical Isolate 1 60 gc/rxt | Unknown | FAM | EcfX | No Ct
D11 | Manajit - Clinical Isolate 1 60 gc/rxt | Unknown | FAM | EcfX | 48.55
D12 | Manajit - Clinical Isolate 1 60 gc/rxt | Unknown | FAM | EcfX | 36.78
E1 | Manajit - Clinical Isolate 1 30 gc/rxt | Unknown | FAM | EcfX | No Ct
E2 | Manajit - Clinical Isolate 1 30 gc/rxt | Unknown | FAM | EcfX | No Ct
E3 | Manajit - Clinical Isolate 1 30 gc/rxt | Unknown | FAM | EcfX | No Ct
E4 | Manajit - Clinical Isolate 1 30 gc/rxt | Unknown | FAM | EcfX | No Ct
E5 | Manajit - Clinical Isolate 1 30 gc/rxt | Unknown | FAM | EcfX | 13.38
E6 | Manajit - Clinical Isolate 1 30 gc/rxt | Unknown | FAM | EcfX | No Ct
E7 | Manajit - Clinical Isolate 1 30 gc/rxt | Unknown | FAM | EcfX | No Ct
E8 | Manajit - Clinical Isolate 1 30 gc/rxt | Unknown | FAM | EcfX | No Ct
E9 | Manajit - Clinical Isolate 1 30 gc/rxt | Unknown | FAM | EcfX | No Ct
E10 | Manajit - Clinical Isolate 1 30 gc/rxt | Unknown | FAM | EcfX | No Ct
E11 | Manajit - Clinical Isolate 1 30 gc/rxt | Unknown | FAM | EcfX | No Ct
E12 | Manajit - Clinical Isolate 1 30 gc/rxt | Unknown | FAM | EcfX | No Ct
F1 | Manajit - Clinical Isolate 1 15 gc/rxt | Unknown | FAM | EcfX | 40.1
F2 | Manajit - Clinical Isolate 1 15 gc/rxt | Unknown | FAM | EcfX | No Ct
F3 | Manajit - Clinical Isolate 1 15 gc/rxt | Unknown | FAM | EcfX | No Ct
F4 | Manajit - Clinical Isolate 1 15 gc/rxt | Unknown | FAM | EcfX | No Ct
F5 | Manajit - Clinical Isolate 1 15 gc/rxt | Unknown | FAM | EcfX | 42.28
F6 | Manajit - Clinical Isolate 1 15 gc/rxt | Unknown | FAM | EcfX | No Ct
F7 | Manajit - Clinical Isolate 1 15 gc/rxt | Unknown | FAM | EcfX | No Ct
F8 | Manajit - Clinical Isolate 1 15 gc/rxt | Unknown | FAM | EcfX | No Ct
F9 | Manajit - Clinical Isolate 1 15 gc/rxt | Unknown | FAM | EcfX | No Ct
F10 | Manajit - Clinical Isolate 1 15 gc/rxt | Unknown | FAM | EcfX | No Ct
F11 | Manajit - Clinical Isolate 1 15 gc/rxt | Unknown | FAM | EcfX | No Ct
F12 | Manajit - Clinical Isolate 1 15 gc/rxt | Unknown | FAM | EcfX | No Ct
G1 | Manajit - Clinical Isolate 1 7.5 gc/rxt | Unknown | FAM | EcfX | No Ct
G2 | Manajit - Clinical Isolate 1 7.5 gc/rxt | Unknown | FAM | EcfX | No Ct
G3 | Manajit - Clinical Isolate 1 7.5 gc/rxt | Unknown | FAM | EcfX | No Ct
G4 | Manajit - Clinical Isolate 1 7.5 gc/rxt | Unknown | FAM | EcfX | No Ct
G5 | Manajit - Clinical Isolate 1 7.5 gc/rxt | Unknown | FAM | EcfX | No Ct
G6 | Manajit - Clinical Isolate 1 7.5 gc/rxt | Unknown | FAM | EcfX | No Ct
G7 | Manajit - Clinical Isolate 1 7.5 gc/rxt | Unknown | FAM | EcfX | 33.76
G8 | Manajit - Clinical Isolate 1 7.5 gc/rxt | Unknown | FAM | EcfX | No Ct
G9 | Manajit - Clinical Isolate 1 7.5 gc/rxt | Unknown | FAM | EcfX | No Ct
G10 | Manajit - Clinical Isolate 1 7.5 gc/rxt | Unknown | FAM | EcfX | No Ct
G11 | Manajit - Clinical Isolate 1 7.5 gc/rxt | Unknown | FAM | EcfX | No Ct
G12 | Manajit - Clinical Isolate 1 7.5 gc/rxt | Unknown | FAM | EcfX | No Ct
H1 | Manajit - Clinical Isolate 1 3.75 gc/rxt | Unknown | FAM | EcfX | No Ct
H2 | Manajit - Clinical Isolate 1 3.75 gc/rxt | Unknown | FAM | EcfX | 36.33
H3 | Manajit - Clinical Isolate 1 3.75 gc/rxt | Unknown | FAM | EcfX | No Ct
H4 | Manajit - Clinical Isolate 1 3.75 gc/rxt | Unknown | FAM | EcfX | No Ct
H5 | Manajit - Clinical Isolate 1 3.75 gc/rxt | Unknown | FAM | EcfX | No Ct
H6 | Manajit - Clinical Isolate 1 3.75 gc/rxt | Unknown | FAM | EcfX | No Ct
H7 | Manajit - Clinical Isolate 1 3.75 gc/rxt | Unknown | FAM | EcfX | No Ct
H8 | Manajit - Clinical Isolate 1 3.75 gc/rxt | Unknown | FAM | EcfX | No Ct
H9 | Manajit - Clinical Isolate 1 3.75 gc/rxt | Unknown | FAM | EcfX | No Ct
H10 | Manajit - Clinical Isolate 1 3.75 gc/rxt | Unknown | FAM | EcfX | No Ct
H11 | Manajit - Clinical Isolate 1 3.75 gc/rxt | Unknown | FAM | EcfX | No Ct
H12 | Manajit - Clinical Isolate 1 3.75 gc/rxt | Unknown | FAM | EcfX | No Ct
Title:
Date/Time: | 24.06.2024 | 11:08:31
Device: | qTOWER³/G | 3107B-1529
Operator:
Comments:
Colors+Dyes: | Pos | Color Module | Dye | Gain | Meas | Refr
| 1 | Blue.470.520.11.3 | FAM | 5 | *
| 2 | Green.515.545.11.2 | JOE | 5
Heated Lid: | 100°C
TC Protocol: | steps | scan | °C | m:s | goto | loops | delta Temp(°C) | delta Time (s) | ramp (°C/s
| 1 | * | 65 | 01:00 | 1 | 59 | 0 | 0 | 8
Melt active: | No
Meas. Repeats: | 3
Color Comp.:
Well | Sample name | Sample type | Dye | Gene | Ct | Mean Ct
D1 | Manajit - Clinical Isolate 1 1.875 gc/rxt | Unknown | FAM | EcfX | No Ct
D2 | Manajit - Clinical Isolate 1 1.875 gc/rxt | Unknown | FAM | EcfX | No Ct
D3 | Manajit - Clinical Isolate 1 1.875 gc/rxt | Unknown | FAM | EcfX | No Ct
D4 | Manajit - Clinical Isolate 1 1.875 gc/rxt | Unknown | FAM | EcfX | No Ct
D5 | Manajit - Clinical Isolate 1 1.875 gc/rxt | Unknown | FAM | EcfX | No Ct
D6 | Manajit - Clinical Isolate 1 1.875 gc/rxt | Unknown | FAM | EcfX | No Ct
D7 | Manajit - Clinical Isolate 1 1.875 gc/rxt | Unknown | FAM | EcfX | No Ct
D8 | Manajit - Clinical Isolate 1 1.875 gc/rxt | Unknown | FAM | EcfX | No Ct
D9 | Manajit - Clinical Isolate 1 1.875 gc/rxt | Unknown | FAM | EcfX | No Ct
D10 | Manajit - Clinical Isolate 1 1.875 gc/rxt | Unknown | FAM | EcfX | No Ct
D11 | Manajit - Clinical Isolate 1 1.875 gc/rxt | Unknown | FAM | EcfX | No Ct
D12 | Manajit - Clinical Isolate 1 1.875 gc/rxt | Unknown | FAM | EcfX | No Ct
G1 | Manajit - Clinical Isolate 1 960 gc/rxt | Unknown | FAM | EcfX | 29.79
G2 | Manajit - Clinical Isolate 1 960 gc/rxt | Unknown | FAM | EcfX | 29.85
G3 | Manajit - Clinical Isolate 1 960 gc/rxt | Unknown | FAM | EcfX | 31.03
G4 | Manajit - Clinical Isolate 1 960 gc/rxt | Unknown | FAM | EcfX | 29.24
G5 | Manajit - Clinical Isolate 1 960 gc/rxt | Unknown | FAM | EcfX | 29.62
G6 | Manajit - Clinical Isolate 1 960 gc/rxt | Unknown | FAM | EcfX | 29.01
G7 | Manajit - Clinical Isolate 1 960 gc/rxt | Unknown | FAM | EcfX | 29.14
G8 | Manajit - Clinical Isolate 1 960 gc/rxt | Unknown | FAM | EcfX | 30.3
G9 | Manajit - Clinical Isolate 1 960 gc/rxt | Unknown | FAM | EcfX | 28.17
G10 | Manajit - Clinical Isolate 1 960 gc/rxt | Unknown | FAM | EcfX | 31.07
G11 | Manajit - Clinical Isolate 1 960 gc/rxt | Unknown | FAM | EcfX | 29.42
G12 | Manajit - Clinical Isolate 1 960 gc/rxt | Unknown | FAM | EcfX | 26.82

## Dong et al. Type Strain
Title:
Date/Time: | 03.06.2024 | 16:59:46
Device: | qTOWER³/G | 3107B-1529
Operator:
Comments:
Colors+Dyes: | Pos | Color Module | Dye | Gain | Meas | Refr
| 1 | Blue.470.520.11.3 | FAM | 5 | *
| 2 | Green.515.545.11.2 | JOE | 5
Heated Lid: | 100°C
TC Protocol: | steps | scan | °C | m:s | goto | loops | delta Temp(°C) | delta Time (s) | ramp (°C/s
| 1 | * | 65 | 01:00 | 1 | 59 | 0 | 0 | 8
Melt active: | No
Meas. Repeats: | 3
Color Comp.:
Well | Sample name | Sample type | Dye | Gene | Ct | Mean Ct
A1 | Dong - Type Strain 900 gc/rxt | Unknown | FAM | OprL | No Ct
A2 | Dong - Type Strain 900 gc/rxt | Unknown | FAM | OprL | 25.12
A3 | Dong - Type Strain 900 gc/rxt | Unknown | FAM | OprL | No Ct
A4 | Dong - Type Strain 900 gc/rxt | Unknown | FAM | OprL | No Ct
A5 | Dong - Type Strain 900 gc/rxt | Unknown | FAM | OprL | 23.09
A6 | Dong - Type Strain 900 gc/rxt | Unknown | FAM | OprL | 23.13
A7 | Dong - Type Strain 900 gc/rxt | Unknown | FAM | OprL | 21.4
A8 | Dong - Type Strain 900 gc/rxt | Unknown | FAM | OprL | No Ct
A9 | Dong - Type Strain 900 gc/rxt | Unknown | FAM | OprL | 46.05
A10 | Dong - Type Strain 900 gc/rxt | Unknown | FAM | OprL | 31.61
A11 | Dong - Type Strain 900 gc/rxt | Unknown | FAM | OprL | 28.97
A12 | Dong - Type Strain 900 gc/rxt | Unknown | FAM | OprL | 21.34
B1 | Dong - Type Strain 450 gc/rxt | Unknown | FAM | OprL | No Ct
B2 | Dong - Type Strain 450 gc/rxt | Unknown | FAM | OprL | 43.16
B3 | Dong - Type Strain 450 gc/rxt | Unknown | FAM | OprL | 35.97
B4 | Dong - Type Strain 450 gc/rxt | Unknown | FAM | OprL | No Ct
B5 | Dong - Type Strain 450 gc/rxt | Unknown | FAM | OprL | 24.35
B6 | Dong - Type Strain 450 gc/rxt | Unknown | FAM | OprL | No Ct
B7 | Dong - Type Strain 450 gc/rxt | Unknown | FAM | OprL | 22.13
B8 | Dong - Type Strain 450 gc/rxt | Unknown | FAM | OprL | No Ct
B9 | Dong - Type Strain 450 gc/rxt | Unknown | FAM | OprL | 21.59
B10 | Dong - Type Strain 450 gc/rxt | Unknown | FAM | OprL | No Ct
B11 | Dong - Type Strain 450 gc/rxt | Unknown | FAM | OprL | No Ct
B12 | Dong - Type Strain 450 gc/rxt | Unknown | FAM | OprL | 26.1
C1 | Dong - Type Strain 225 gc/rxt | Unknown | FAM | OprL | No Ct
C2 | Dong - Type Strain 225 gc/rxt | Unknown | FAM | OprL | No Ct
C3 | Dong - Type Strain 225 gc/rxt | Unknown | FAM | OprL | 27.34
C4 | Dong - Type Strain 225 gc/rxt | Unknown | FAM | OprL | No Ct
C5 | Dong - Type Strain 225 gc/rxt | Unknown | FAM | OprL | 25.03
C6 | Dong - Type Strain 225 gc/rxt | Unknown | FAM | OprL | No Ct
C7 | Dong - Type Strain 225 gc/rxt | Unknown | FAM | OprL | 59.96
C8 | Dong - Type Strain 225 gc/rxt | Unknown | FAM | OprL | No Ct
C9 | Dong - Type Strain 225 gc/rxt | Unknown | FAM | OprL | No Ct
C10 | Dong - Type Strain 225 gc/rxt | Unknown | FAM | OprL | No Ct
C11 | Dong - Type Strain 225 gc/rxt | Unknown | FAM | OprL | No Ct
C12 | Dong - Type Strain 225 gc/rxt | Unknown | FAM | OprL | No Ct
D1 | Dong - Type Strain 112.5 gc/rxt | Unknown | FAM | OprL | No Ct
D2 | Dong - Type Strain 112.5 gc/rxt | Unknown | FAM | OprL | No Ct
D3 | Dong - Type Strain 112.5 gc/rxt | Unknown | FAM | OprL | No Ct
D4 | Dong - Type Strain 112.5 gc/rxt | Unknown | FAM | OprL | 30.28
D5 | Dong - Type Strain 112.5 gc/rxt | Unknown | FAM | OprL | No Ct
D6 | Dong - Type Strain 112.5 gc/rxt | Unknown | FAM | OprL | No Ct
D7 | Dong - Type Strain 112.5 gc/rxt | Unknown | FAM | OprL | No Ct
D8 | Dong - Type Strain 112.5 gc/rxt | Unknown | FAM | OprL | 32.53
D9 | Dong - Type Strain 112.5 gc/rxt | Unknown | FAM | OprL | No Ct
D10 | Dong - Type Strain 112.5 gc/rxt | Unknown | FAM | OprL | No Ct
D11 | Dong - Type Strain 112.5 gc/rxt | Unknown | FAM | OprL | No Ct
D12 | Dong - Type Strain 112.5 gc/rxt | Unknown | FAM | OprL | No Ct
E1 | Dong - Type Strain 56.25 gc/rxt | Unknown | FAM | OprL | No Ct
E2 | Dong - Type Strain 56.25 gc/rxt | Unknown | FAM | OprL | No Ct
E3 | Dong - Type Strain 56.25 gc/rxt | Unknown | FAM | OprL | No Ct
E4 | Dong - Type Strain 56.25 gc/rxt | Unknown | FAM | OprL | No Ct
E5 | Dong - Type Strain 56.25 gc/rxt | Unknown | FAM | OprL | 20.08
E6 | Dong - Type Strain 56.25 gc/rxt | Unknown | FAM | OprL | 29.52
E7 | Dong - Type Strain 56.25 gc/rxt | Unknown | FAM | OprL | No Ct
E8 | Dong - Type Strain 56.25 gc/rxt | Unknown | FAM | OprL | No Ct
E9 | Dong - Type Strain 56.25 gc/rxt | Unknown | FAM | OprL | No Ct
E10 | Dong - Type Strain 56.25 gc/rxt | Unknown | FAM | OprL | No Ct
E11 | Dong - Type Strain 56.25 gc/rxt | Unknown | FAM | OprL | No Ct
E12 | Dong - Type Strain 56.25 gc/rxt | Unknown | FAM | OprL | No Ct
F1 | Dong - Type Strain 28.125 gc/rxt | Unknown | FAM | OprL | No Ct
F2 | Dong - Type Strain 28.125 gc/rxt | Unknown | FAM | OprL | No Ct
F3 | Dong - Type Strain 28.125 gc/rxt | Unknown | FAM | OprL | No Ct
F4 | Dong - Type Strain 28.125 gc/rxt | Unknown | FAM | OprL | No Ct
F5 | Dong - Type Strain 28.125 gc/rxt | Unknown | FAM | OprL | 21.72
F6 | Dong - Type Strain 28.125 gc/rxt | Unknown | FAM | OprL | No Ct
F7 | Dong - Type Strain 28.125 gc/rxt | Unknown | FAM | OprL | No Ct
F8 | Dong - Type Strain 28.125 gc/rxt | Unknown | FAM | OprL | No Ct
F9 | Dong - Type Strain 28.125 gc/rxt | Unknown | FAM | OprL | No Ct
F10 | Dong - Type Strain 28.125 gc/rxt | Unknown | FAM | OprL | No Ct
F11 | Dong - Type Strain 28.125 gc/rxt | Unknown | FAM | OprL | No Ct
F12 | Dong - Type Strain 28.125 gc/rxt | Unknown | FAM | OprL | No Ct
G1 | Dong - Type Strain 14.063 gc/rxt | Unknown | FAM | OprL | No Ct
G2 | Dong - Type Strain 14.063 gc/rxt | Unknown | FAM | OprL | No Ct
G3 | Dong - Type Strain 14.063 gc/rxt | Unknown | FAM | OprL | No Ct
G4 | Dong - Type Strain 14.063 gc/rxt | Unknown | FAM | OprL | No Ct
G5 | Dong - Type Strain 14.063 gc/rxt | Unknown | FAM | OprL | No Ct
G6 | Dong - Type Strain 14.063 gc/rxt | Unknown | FAM | OprL | No Ct
G7 | Dong - Type Strain 14.063 gc/rxt | Unknown | FAM | OprL | No Ct
G8 | Dong - Type Strain 14.063 gc/rxt | Unknown | FAM | OprL | No Ct
G9 | Dong - Type Strain 14.063 gc/rxt | Unknown | FAM | OprL | No Ct
G10 | Dong - Type Strain 14.063 gc/rxt | Unknown | FAM | OprL | No Ct
G11 | Dong - Type Strain 14.063 gc/rxt | Unknown | FAM | OprL | No Ct
G12 | Dong - Type Strain 14.063 gc/rxt | Unknown | FAM | OprL | No Ct
H1 | Dong - Type Strain 7.031 gc/rxt | Unknown | FAM | OprL | No Ct
H2 | Dong - Type Strain 7.031 gc/rxt | Unknown | FAM | OprL | No Ct
H3 | Dong - Type Strain 7.031 gc/rxt | Unknown | FAM | OprL | No Ct
H4 | Dong - Type Strain 7.031 gc/rxt | Unknown | FAM | OprL | No Ct
H5 | Dong - Type Strain 7.031 gc/rxt | Unknown | FAM | OprL | No Ct
H6 | Dong - Type Strain 7.031 gc/rxt | Unknown | FAM | OprL | No Ct
H7 | Dong - Type Strain 7.031 gc/rxt | Unknown | FAM | OprL | No Ct
H8 | Dong - Type Strain 7.031 gc/rxt | Unknown | FAM | OprL | No Ct
H9 | Dong - Type Strain 7.031 gc/rxt | Unknown | FAM | OprL | No Ct
H10 | Dong - Type Strain 7.031 gc/rxt | Unknown | FAM | OprL | No Ct
H11 | Dong - Type Strain 7.031 gc/rxt | Unknown | FAM | OprL | No Ct
H12 | Dong - Type Strain 7.031 gc/rxt | Unknown | FAM | OprL | No Ct
Title:
Date/Time: | 04.06.2024 | 14:13:21
Device: | qTOWER³/G | 3107B-1529
Operator:
Comments:
Colors+Dyes: | Pos | Color Module | Dye | Gain | Meas | Refr
| 1 | Blue.470.520.11.3 | FAM | 5 | *
| 2 | Green.515.545.11.2 | JOE | 5
Heated Lid: | 100°C
TC Protocol: | steps | scan | °C | m:s | goto | loops | delta Temp(°C) | delta Time (s) | ramp (°C/s
| 1 | * | 65 | 01:00 | 1 | 59 | 0 | 0 | 8
Melt active: | No
Meas. Repeats: | 3
Color Comp.:
Well | Sample name | Sample type | Dye | Gene | Ct | Mean Ct
A1 | Dong - Type Strain 1800 gc/rxt | Unknown | FAM | OprL | 41.61
A2 | Dong - Type Strain 1800 gc/rxt | Unknown | FAM | OprL | No Ct
A3 | Dong - Type Strain 1800 gc/rxt | Unknown | FAM | OprL | No Ct
A4 | Dong - Type Strain 1800 gc/rxt | Unknown | FAM | OprL | 37.69
A5 | Dong - Type Strain 1800 gc/rxt | Unknown | FAM | OprL | No Ct
A6 | Dong - Type Strain 1800 gc/rxt | Unknown | FAM | OprL | 27.14
A7 | Dong - Type Strain 1800 gc/rxt | Unknown | FAM | OprL | 33.57
A8 | Dong - Type Strain 1800 gc/rxt | Unknown | FAM | OprL | No Ct
A9 | Dong - Type Strain 1800 gc/rxt | Unknown | FAM | OprL | 43.42
A10 | Dong - Type Strain 1800 gc/rxt | Unknown | FAM | OprL | 31.96
A11 | Dong - Type Strain 1800 gc/rxt | Unknown | FAM | OprL | 29.96
A12 | Dong - Type Strain 1800 gc/rxt | Unknown | FAM | OprL | 39.45
Title:
Date/Time: | 05.06.2024 | 09:21:46
Device: | qTOWER³/G | 3107B-1529
Operator:
Comments:
Colors+Dyes: | Pos | Color Module | Dye | Gain | Meas | Refr
| 1 | Blue.470.520.11.3 | FAM | 5 | *
| 2 | Green.515.545.11.2 | JOE | 5
Heated Lid: | 100°C
TC Protocol: | steps | scan | °C | m:s | goto | loops | delta Temp(°C) | delta Time (s) | ramp (°C/s
| 1 | * | 65 | 01:00 | 1 | 59 | 0 | 0 | 8
Melt active: | No
Meas. Repeats: | 3
Color Comp.:
Well | Sample name | Sample type | Dye | Gene | Ct | Mean Ct
A1 | Dong - Type Strain 3600 gc/rxt | Unknown | FAM | OprL | No Ct
A2 | Dong - Type Strain 3600 gc/rxt | Unknown | FAM | OprL | 29.36
A3 | Dong - Type Strain 3600 gc/rxt | Unknown | FAM | OprL | 40.99
A4 | Dong - Type Strain 3600 gc/rxt | Unknown | FAM | OprL | 20.18
A5 | Dong - Type Strain 3600 gc/rxt | Unknown | FAM | OprL | 20.46
A6 | Dong - Type Strain 3600 gc/rxt | Unknown | FAM | OprL | 24.85
A7 | Dong - Type Strain 3600 gc/rxt | Unknown | FAM | OprL | 21.78
A8 | Dong - Type Strain 3600 gc/rxt | Unknown | FAM | OprL | 20.57
A9 | Dong - Type Strain 3600 gc/rxt | Unknown | FAM | OprL | No Ct
A10 | Dong - Type Strain 3600 gc/rxt | Unknown | FAM | OprL | 31.93
A11 | Dong - Type Strain 3600 gc/rxt | Unknown | FAM | OprL | 20.52
A12 | Dong - Type Strain 3600 gc/rxt | Unknown | FAM | OprL | 29.78
B1 | Dong - Type Strain 7200 gc/rxt | Unknown | FAM | OprL | 23.13
B2 | Dong - Type Strain 7200 gc/rxt | Unknown | FAM | OprL | 21.12
B3 | Dong - Type Strain 7200 gc/rxt | Unknown | FAM | OprL | 36.26
B4 | Dong - Type Strain 7200 gc/rxt | Unknown | FAM | OprL | 21.65
B5 | Dong - Type Strain 7200 gc/rxt | Unknown | FAM | OprL | 15.44
B6 | Dong - Type Strain 7200 gc/rxt | Unknown | FAM | OprL | 21.15
B7 | Dong - Type Strain 7200 gc/rxt | Unknown | FAM | OprL | 16.36
B8 | Dong - Type Strain 7200 gc/rxt | Unknown | FAM | OprL | 16.1
B9 | Dong - Type Strain 7200 gc/rxt | Unknown | FAM | OprL | 14.72
B10 | Dong - Type Strain 7200 gc/rxt | Unknown | FAM | OprL | 17.81
B11 | Dong - Type Strain 7200 gc/rxt | Unknown | FAM | OprL | 19.29
B12 | Dong - Type Strain 7200 gc/rxt | Unknown | FAM | OprL | 15.61

## Dong et al. Environmental Iso
Title:
Date/Time: | 04.06.2024 | 10:12:22
Device: | qTOWER³/G | 3107B-1529
Operator:
Comments:
Colors+Dyes: | Pos | Color Module | Dye | Gain | Meas | Refr
| 1 | Blue.470.520.11.3 | FAM | 5 | *
| 2 | Green.515.545.11.2 | JOE | 5
Heated Lid: | 100°C
TC Protocol: | steps | scan | °C | m:s | goto | loops | delta Temp(°C) | delta Time (s) | ramp (°C/s
| 1 | * | 65 | 01:00 | 1 | 59 | 0 | 0 | 8
Melt active: | No
Meas. Repeats: | 3
Color Comp.:
Well | Sample name | Sample type | Dye | Gene | Ct | Mean Ct
A1 | Dong - Evironmental Isolate 1 87.5 gc/rxt | Unknown | FAM | OprL | No Ct
A2 | Dong - Evironmental Isolate 1 87.5 gc/rxt | Unknown | FAM | OprL | No Ct
A3 | Dong - Evironmental Isolate 1 87.5 gc/rxt | Unknown | FAM | OprL | No Ct
A4 | Dong - Evironmental Isolate 1 87.5 gc/rxt | Unknown | FAM | OprL | No Ct
A5 | Dong - Evironmental Isolate 1 87.5 gc/rxt | Unknown | FAM | OprL | 21.95
A6 | Dong - Evironmental Isolate 1 87.5 gc/rxt | Unknown | FAM | OprL | 29.26
A7 | Dong - Evironmental Isolate 1 87.5 gc/rxt | Unknown | FAM | OprL | 22.48
A8 | Dong - Evironmental Isolate 1 87.5 gc/rxt | Unknown | FAM | OprL | No Ct
A9 | Dong - Evironmental Isolate 1 87.5 gc/rxt | Unknown | FAM | OprL | 34.48
A10 | Dong - Evironmental Isolate 1 87.5 gc/rxt | Unknown | FAM | OprL | No Ct
A11 | Dong - Evironmental Isolate 1 87.5 gc/rxt | Unknown | FAM | OprL | 21.83
A12 | Dong - Evironmental Isolate 1 87.5 gc/rxt | Unknown | FAM | OprL | No Ct
B1 | Dong - Evironmental Isolate 1 43.75 gc/rxt | Unknown | FAM | OprL | No Ct
B2 | Dong - Evironmental Isolate 1 43.75 gc/rxt | Unknown | FAM | OprL | No Ct
B3 | Dong - Evironmental Isolate 1 43.75 gc/rxt | Unknown | FAM | OprL | 20.77
B4 | Dong - Evironmental Isolate 1 43.75 gc/rxt | Unknown | FAM | OprL | No Ct
B5 | Dong - Evironmental Isolate 1 43.75 gc/rxt | Unknown | FAM | OprL | No Ct
B6 | Dong - Evironmental Isolate 1 43.75 gc/rxt | Unknown | FAM | OprL | No Ct
B7 | Dong - Evironmental Isolate 1 43.75 gc/rxt | Unknown | FAM | OprL | 23.6
B8 | Dong - Evironmental Isolate 1 43.75 gc/rxt | Unknown | FAM | OprL | No Ct
B9 | Dong - Evironmental Isolate 1 43.75 gc/rxt | Unknown | FAM | OprL | No Ct
B10 | Dong - Evironmental Isolate 1 43.75 gc/rxt | Unknown | FAM | OprL | No Ct
B11 | Dong - Evironmental Isolate 1 43.75 gc/rxt | Unknown | FAM | OprL | No Ct
B12 | Dong - Evironmental Isolate 1 43.75 gc/rxt | Unknown | FAM | OprL | No Ct
C1 | Dong - Evironmental Isolate 1 21.875 gc/rxt | Unknown | FAM | OprL | No Ct
C2 | Dong - Evironmental Isolate 1 21.875 gc/rxt | Unknown | FAM | OprL | No Ct
C3 | Dong - Evironmental Isolate 1 21.875 gc/rxt | Unknown | FAM | OprL | 24.12
C4 | Dong - Evironmental Isolate 1 21.875 gc/rxt | Unknown | FAM | OprL | No Ct
C5 | Dong - Evironmental Isolate 1 21.875 gc/rxt | Unknown | FAM | OprL | No Ct
C6 | Dong - Evironmental Isolate 1 21.875 gc/rxt | Unknown | FAM | OprL | 23
C7 | Dong - Evironmental Isolate 1 21.875 gc/rxt | Unknown | FAM | OprL | 22.26
C8 | Dong - Evironmental Isolate 1 21.875 gc/rxt | Unknown | FAM | OprL | 24.63
C9 | Dong - Evironmental Isolate 1 21.875 gc/rxt | Unknown | FAM | OprL | No Ct
C10 | Dong - Evironmental Isolate 1 21.875 gc/rxt | Unknown | FAM | OprL | No Ct
C11 | Dong - Evironmental Isolate 1 21.875 gc/rxt | Unknown | FAM | OprL | No Ct
C12 | Dong - Evironmental Isolate 1 21.875 gc/rxt | Unknown | FAM | OprL | No Ct
D1 | Dong - Evironmental Isolate 1 10.938 gc/rxt | Unknown | FAM | OprL | No Ct
D2 | Dong - Evironmental Isolate 1 10.938 gc/rxt | Unknown | FAM | OprL | No Ct
D3 | Dong - Evironmental Isolate 1 10.938 gc/rxt | Unknown | FAM | OprL | 20.13
D4 | Dong - Evironmental Isolate 1 10.938 gc/rxt | Unknown | FAM | OprL | No Ct
D5 | Dong - Evironmental Isolate 1 10.938 gc/rxt | Unknown | FAM | OprL | No Ct
D6 | Dong - Evironmental Isolate 1 10.938 gc/rxt | Unknown | FAM | OprL | No Ct
D7 | Dong - Evironmental Isolate 1 10.938 gc/rxt | Unknown | FAM | OprL | No Ct
D8 | Dong - Evironmental Isolate 1 10.938 gc/rxt | Unknown | FAM | OprL | No Ct
D9 | Dong - Evironmental Isolate 1 10.938 gc/rxt | Unknown | FAM | OprL | No Ct
D10 | Dong - Evironmental Isolate 1 10.938 gc/rxt | Unknown | FAM | OprL | No Ct
D11 | Dong - Evironmental Isolate 1 10.938 gc/rxt | Unknown | FAM | OprL | No Ct
D12 | Dong - Evironmental Isolate 1 10.938 gc/rxt | Unknown | FAM | OprL | No Ct
E1 | Dong - Evironmental Isolate 1 5.469 gc/rxt | Unknown | FAM | OprL | No Ct
E2 | Dong - Evironmental Isolate 1 5.469 gc/rxt | Unknown | FAM | OprL | No Ct
E3 | Dong - Evironmental Isolate 1 5.469 gc/rxt | Unknown | FAM | OprL | No Ct
E4 | Dong - Evironmental Isolate 1 5.469 gc/rxt | Unknown | FAM | OprL | No Ct
E5 | Dong - Evironmental Isolate 1 5.469 gc/rxt | Unknown | FAM | OprL | No Ct
E6 | Dong - Evironmental Isolate 1 5.469 gc/rxt | Unknown | FAM | OprL | No Ct
E7 | Dong - Evironmental Isolate 1 5.469 gc/rxt | Unknown | FAM | OprL | No Ct
E8 | Dong - Evironmental Isolate 1 5.469 gc/rxt | Unknown | FAM | OprL | 47.51
E9 | Dong - Evironmental Isolate 1 5.469 gc/rxt | Unknown | FAM | OprL | No Ct
E10 | Dong - Evironmental Isolate 1 5.469 gc/rxt | Unknown | FAM | OprL | No Ct
E11 | Dong - Evironmental Isolate 1 5.469 gc/rxt | Unknown | FAM | OprL | No Ct
E12 | Dong - Evironmental Isolate 1 5.469 gc/rxt | Unknown | FAM | OprL | No Ct
F1 | Dong - Evironmental Isolate 1 2.734 gc/rxt | Unknown | FAM | OprL | No Ct
F2 | Dong - Evironmental Isolate 1 2.734 gc/rxt | Unknown | FAM | OprL | No Ct
F3 | Dong - Evironmental Isolate 1 2.734 gc/rxt | Unknown | FAM | OprL | No Ct
F4 | Dong - Evironmental Isolate 1 2.734 gc/rxt | Unknown | FAM | OprL | No Ct
F5 | Dong - Evironmental Isolate 1 2.734 gc/rxt | Unknown | FAM | OprL | No Ct
F6 | Dong - Evironmental Isolate 1 2.734 gc/rxt | Unknown | FAM | OprL | No Ct
F7 | Dong - Evironmental Isolate 1 2.734 gc/rxt | Unknown | FAM | OprL | No Ct
F8 | Dong - Evironmental Isolate 1 2.734 gc/rxt | Unknown | FAM | OprL | No Ct
F9 | Dong - Evironmental Isolate 1 2.734 gc/rxt | Unknown | FAM | OprL | No Ct
F10 | Dong - Evironmental Isolate 1 2.734 gc/rxt | Unknown | FAM | OprL | No Ct
F11 | Dong - Evironmental Isolate 1 2.734 gc/rxt | Unknown | FAM | OprL | No Ct
F12 | Dong - Evironmental Isolate 1 2.734 gc/rxt | Unknown | FAM | OprL | No Ct
G1 | Dong - Evironmental Isolate 1 1.367 gc/rxt | Unknown | FAM | OprL | No Ct
G2 | Dong - Evironmental Isolate 1 1.367 gc/rxt | Unknown | FAM | OprL | No Ct
G3 | Dong - Evironmental Isolate 1 1.367 gc/rxt | Unknown | FAM | OprL | No Ct
G4 | Dong - Evironmental Isolate 1 1.367 gc/rxt | Unknown | FAM | OprL | No Ct
G5 | Dong - Evironmental Isolate 1 1.367 gc/rxt | Unknown | FAM | OprL | No Ct
G6 | Dong - Evironmental Isolate 1 1.367 gc/rxt | Unknown | FAM | OprL | No Ct
G7 | Dong - Evironmental Isolate 1 1.367 gc/rxt | Unknown | FAM | OprL | No Ct
G8 | Dong - Evironmental Isolate 1 1.367 gc/rxt | Unknown | FAM | OprL | No Ct
G9 | Dong - Evironmental Isolate 1 1.367 gc/rxt | Unknown | FAM | OprL | No Ct
G10 | Dong - Evironmental Isolate 1 1.367 gc/rxt | Unknown | FAM | OprL | No Ct
G11 | Dong - Evironmental Isolate 1 1.367 gc/rxt | Unknown | FAM | OprL | 52.09
G12 | Dong - Evironmental Isolate 1 1.367 gc/rxt | Unknown | FAM | OprL | No Ct
H1 | Dong - Evironmental Isolate 1 0.684 gc/rxt | Unknown | FAM | OprL | No Ct
H2 | Dong - Evironmental Isolate 1 0.684 gc/rxt | Unknown | FAM | OprL | No Ct
H3 | Dong - Evironmental Isolate 1 0.684 gc/rxt | Unknown | FAM | OprL | No Ct
H4 | Dong - Evironmental Isolate 1 0.684 gc/rxt | Unknown | FAM | OprL | No Ct
H5 | Dong - Evironmental Isolate 1 0.684 gc/rxt | Unknown | FAM | OprL | No Ct
H6 | Dong - Evironmental Isolate 1 0.684 gc/rxt | Unknown | FAM | OprL | No Ct
H7 | Dong - Evironmental Isolate 1 0.684 gc/rxt | Unknown | FAM | OprL | No Ct
H8 | Dong - Evironmental Isolate 1 0.684 gc/rxt | Unknown | FAM | OprL | No Ct
H9 | Dong - Evironmental Isolate 1 0.684 gc/rxt | Unknown | FAM | OprL | No Ct
H10 | Dong - Evironmental Isolate 1 0.684 gc/rxt | Unknown | FAM | OprL | No Ct
H11 | Dong - Evironmental Isolate 1 0.684 gc/rxt | Unknown | FAM | OprL | No Ct
H12 | Dong - Evironmental Isolate 1 0.684 gc/rxt | Unknown | FAM | OprL | No Ct
Title:
Date/Time: | 04.06.2024 | 14:13:21
Device: | qTOWER³/G | 3107B-1529
Operator:
Comments:
Colors+Dyes: | Pos | Color Module | Dye | Gain | Meas | Refr
| 1 | Blue.470.520.11.3 | FAM | 5 | *
| 2 | Green.515.545.11.2 | JOE | 5
Heated Lid: | 100°C
TC Protocol: | steps | scan | °C | m:s | goto | loops | delta Temp(°C) | delta Time (s) | ramp (°C/s
| 1 | * | 65 | 01:00 | 1 | 59 | 0 | 0 | 8
Melt active: | No
Meas. Repeats: | 3
Color Comp.:
Well | Sample name | Sample type | Dye | Gene | Ct | Mean Ct
C1 | Dong - Environmental Isolate 1 175 gc/rxt | Unknown | FAM | OprL | 30.17
C2 | Dong - Environmental Isolate 1 175 gc/rxt | Unknown | FAM | OprL | 23.08
C3 | Dong - Environmental Isolate 1 175 gc/rxt | Unknown | FAM | OprL | No Ct
C4 | Dong - Environmental Isolate 1 175 gc/rxt | Unknown | FAM | OprL | 33.34
C5 | Dong - Environmental Isolate 1 175 gc/rxt | Unknown | FAM | OprL | 35.22
C6 | Dong - Environmental Isolate 1 175 gc/rxt | Unknown | FAM | OprL | 44.06
C7 | Dong - Environmental Isolate 1 175 gc/rxt | Unknown | FAM | OprL | 35.2
C8 | Dong - Environmental Isolate 1 175 gc/rxt | Unknown | FAM | OprL | No Ct
C9 | Dong - Environmental Isolate 1 175 gc/rxt | Unknown | FAM | OprL | 26.98
C10 | Dong - Environmental Isolate 1 175 gc/rxt | Unknown | FAM | OprL | 27.72
C11 | Dong - Environmental Isolate 1 175 gc/rxt | Unknown | FAM | OprL | 53.33
C12 | Dong - Environmental Isolate 1 175 gc/rxt | Unknown | FAM | OprL | 58.5
D1 | Dong - Environmental Isolate 1 350 gc/rxt | Unknown | FAM | OprL | 23.31
D2 | Dong - Environmental Isolate 1 350 gc/rxt | Unknown | FAM | OprL | 31.9
D3 | Dong - Environmental Isolate 1 350 gc/rxt | Unknown | FAM | OprL | No Ct
D4 | Dong - Environmental Isolate 1 350 gc/rxt | Unknown | FAM | OprL | 33.4
D5 | Dong - Environmental Isolate 1 350 gc/rxt | Unknown | FAM | OprL | 48.65
D6 | Dong - Environmental Isolate 1 350 gc/rxt | Unknown | FAM | OprL | 56.44
D7 | Dong - Environmental Isolate 1 350 gc/rxt | Unknown | FAM | OprL | 32.1
D8 | Dong - Environmental Isolate 1 350 gc/rxt | Unknown | FAM | OprL | 26.39
D9 | Dong - Environmental Isolate 1 350 gc/rxt | Unknown | FAM | OprL | No Ct
D10 | Dong - Environmental Isolate 1 350 gc/rxt | Unknown | FAM | OprL | 48.95
D11 | Dong - Environmental Isolate 1 350 gc/rxt | Unknown | FAM | OprL | 25.98
D12 | Dong - Environmental Isolate 1 350 gc/rxt | Unknown | FAM | OprL | 33.2
Title:
Date/Time: | 05.06.2024 | 09:21:46
Device: | qTOWER³/G | 3107B-1529
Operator:
Comments:
Colors+Dyes: | Pos | Color Module | Dye | Gain | Meas | Refr
| 1 | Blue.470.520.11.3 | FAM | 5 | *
| 2 | Green.515.545.11.2 | JOE | 5
Heated Lid: | 100°C
TC Protocol: | steps | scan | °C | m:s | goto | loops | delta Temp(°C) | delta Time (s) | ramp (°C/s
| 1 | * | 65 | 01:00 | 1 | 59 | 0 | 0 | 8
Melt active: | No
Meas. Repeats: | 3
Color Comp.:
Well | Sample name | Sample type | Dye | Gene | Ct | Mean Ct
E1 | Dong - Environmental Isolate 1 700 gc/rxt | Unknown | FAM | OprL | 15.96
E2 | Dong - Environmental Isolate 1 700 gc/rxt | Unknown | FAM | OprL | 21.65
E3 | Dong - Environmental Isolate 1 700 gc/rxt | Unknown | FAM | OprL | 29.24
E4 | Dong - Environmental Isolate 1 700 gc/rxt | Unknown | FAM | OprL | 14.97
E5 | Dong - Environmental Isolate 1 700 gc/rxt | Unknown | FAM | OprL | 23.44
E6 | Dong - Environmental Isolate 1 700 gc/rxt | Unknown | FAM | OprL | 19.26
E7 | Dong - Environmental Isolate 1 700 gc/rxt | Unknown | FAM | OprL | 17.93
E8 | Dong - Environmental Isolate 1 700 gc/rxt | Unknown | FAM | OprL | 17.88
E9 | Dong - Environmental Isolate 1 700 gc/rxt | Unknown | FAM | OprL | 15.56
E10 | Dong - Environmental Isolate 1 700 gc/rxt | Unknown | FAM | OprL | 18.05
E11 | Dong - Environmental Isolate 1 700 gc/rxt | Unknown | FAM | OprL | 22.27
E12 | Dong - Environmental Isolate 1 700 gc/rxt | Unknown | FAM | OprL | 15.83
F1 | Dong - Environmental Isolate 1 1400 gc/rxt | Unknown | FAM | OprL | 17.22
F2 | Dong - Environmental Isolate 1 1400 gc/rxt | Unknown | FAM | OprL | 15.85
F3 | Dong - Environmental Isolate 1 1400 gc/rxt | Unknown | FAM | OprL | 15.27
F4 | Dong - Environmental Isolate 1 1400 gc/rxt | Unknown | FAM | OprL | 16.17
F5 | Dong - Environmental Isolate 1 1400 gc/rxt | Unknown | FAM | OprL | 15.89
F6 | Dong - Environmental Isolate 1 1400 gc/rxt | Unknown | FAM | OprL | 17.19
F7 | Dong - Environmental Isolate 1 1400 gc/rxt | Unknown | FAM | OprL | 15
F8 | Dong - Environmental Isolate 1 1400 gc/rxt | Unknown | FAM | OprL | 17.83
F9 | Dong - Environmental Isolate 1 1400 gc/rxt | Unknown | FAM | OprL | 15.3
F10 | Dong - Environmental Isolate 1 1400 gc/rxt | Unknown | FAM | OprL | 18.38
F11 | Dong - Environmental Isolate 1 1400 gc/rxt | Unknown | FAM | OprL | 16.39
F12 | Dong - Environmental Isolate 1 1400 gc/rxt | Unknown | FAM | OprL | 17.23

## Dong et al. Clinical Isolate
Title:
Date/Time: | 03.06.2024 | 15:45:43
Device: | qTOWER³/G | 3107B-1529
Operator:
Comments:
Colors+Dyes: | Pos | Color Module | Dye | Gain | Meas | Refr
| 1 | Blue.470.520.11.3 | FAM | 5 | *
| 2 | Green.515.545.11.2 | JOE | 5
Heated Lid: | 100°C
TC Protocol: | steps | scan | °C | m:s | goto | loops | delta Temp(°C) | delta Time (s) | ramp (°C/s
| 1 | * | 65 | 01:00 | 1 | 59 | 0 | 0 | 8
Melt active: | No
Meas. Repeats: | 3
Color Comp.:
Well | Sample name | Sample type | Dye | Gene | Ct | Mean Ct
A1 | Dong - Clinical Isolate 1 120gc/rxt | Unknown | FAM | OprL | 29.03
A2 | Dong - Clinical Isolate 1 120gc/rxt | Unknown | FAM | OprL | 17.84
A3 | Dong - Clinical Isolate 1 120gc/rxt | Unknown | FAM | OprL | 22.19
A4 | Dong - Clinical Isolate 1 120gc/rxt | Unknown | FAM | OprL | 18.39
A5 | Dong - Clinical Isolate 1 120gc/rxt | Unknown | FAM | OprL | 24.82
A6 | Dong - Clinical Isolate 1 120gc/rxt | Unknown | FAM | OprL | No Ct
A7 | Dong - Clinical Isolate 1 120gc/rxt | Unknown | FAM | OprL | 17.81
A8 | Dong - Clinical Isolate 1 120gc/rxt | Unknown | FAM | OprL | No Ct
A9 | Dong - Clinical Isolate 1 120gc/rxt | Unknown | FAM | OprL | 15.74
A10 | Dong - Clinical Isolate 1 120gc/rxt | Unknown | FAM | OprL | 25.28
A11 | Dong - Clinical Isolate 1 120gc/rxt | Unknown | FAM | OprL | No Ct
A12 | Dong - Clinical Isolate 1 120gc/rxt | Unknown | FAM | OprL | 22.46
B1 | Dong - Clinical Isolate 1 60gc/rxt | Unknown | FAM | OprL | No Ct
B2 | Dong - Clinical Isolate 1 60gc/rxt | Unknown | FAM | OprL | No Ct
B3 | Dong - Clinical Isolate 1 60gc/rxt | Unknown | FAM | OprL | 45.92
B4 | Dong - Clinical Isolate 1 60gc/rxt | Unknown | FAM | OprL | 19.19
B5 | Dong - Clinical Isolate 1 60gc/rxt | Unknown | FAM | OprL | 22.97
B6 | Dong - Clinical Isolate 1 60gc/rxt | Unknown | FAM | OprL | 31.63
B7 | Dong - Clinical Isolate 1 60gc/rxt | Unknown | FAM | OprL | 22.33
B8 | Dong - Clinical Isolate 1 60gc/rxt | Unknown | FAM | OprL | 53.09
B9 | Dong - Clinical Isolate 1 60gc/rxt | Unknown | FAM | OprL | No Ct
B10 | Dong - Clinical Isolate 1 60gc/rxt | Unknown | FAM | OprL | No Ct
B11 | Dong - Clinical Isolate 1 60gc/rxt | Unknown | FAM | OprL | 44.55
B12 | Dong - Clinical Isolate 1 60gc/rxt | Unknown | FAM | OprL | No Ct
C1 | Dong - Clinical Isolate 1 30gc/rxt | Unknown | FAM | OprL | 42.27
C2 | Dong - Clinical Isolate 1 30gc/rxt | Unknown | FAM | OprL | 26.5
C3 | Dong - Clinical Isolate 1 30gc/rxt | Unknown | FAM | OprL | No Ct
C4 | Dong - Clinical Isolate 1 30gc/rxt | Unknown | FAM | OprL | 39.65
C5 | Dong - Clinical Isolate 1 30gc/rxt | Unknown | FAM | OprL | 18.32
C6 | Dong - Clinical Isolate 1 30gc/rxt | Unknown | FAM | OprL | No Ct
C7 | Dong - Clinical Isolate 1 30gc/rxt | Unknown | FAM | OprL | No Ct
C8 | Dong - Clinical Isolate 1 30gc/rxt | Unknown | FAM | OprL | 23.12
C9 | Dong - Clinical Isolate 1 30gc/rxt | Unknown | FAM | OprL | No Ct
C10 | Dong - Clinical Isolate 1 30gc/rxt | Unknown | FAM | OprL | No Ct
C11 | Dong - Clinical Isolate 1 30gc/rxt | Unknown | FAM | OprL | 17.61
C12 | Dong - Clinical Isolate 1 30gc/rxt | Unknown | FAM | OprL | No Ct
D1 | Dong - Clinical Isolate 1 15gc/rxt | Unknown | FAM | OprL | No Ct
D2 | Dong - Clinical Isolate 1 15gc/rxt | Unknown | FAM | OprL | No Ct
D3 | Dong - Clinical Isolate 1 15gc/rxt | Unknown | FAM | OprL | No Ct
D4 | Dong - Clinical Isolate 1 15gc/rxt | Unknown | FAM | OprL | No Ct
D5 | Dong - Clinical Isolate 1 15gc/rxt | Unknown | FAM | OprL | No Ct
D6 | Dong - Clinical Isolate 1 15gc/rxt | Unknown | FAM | OprL | 17.51
D7 | Dong - Clinical Isolate 1 15gc/rxt | Unknown | FAM | OprL | No Ct
D8 | Dong - Clinical Isolate 1 15gc/rxt | Unknown | FAM | OprL | No Ct
D9 | Dong - Clinical Isolate 1 15gc/rxt | Unknown | FAM | OprL | 34.76
D10 | Dong - Clinical Isolate 1 15gc/rxt | Unknown | FAM | OprL | 18.2
D11 | Dong - Clinical Isolate 1 15gc/rxt | Unknown | FAM | OprL | No Ct
D12 | Dong - Clinical Isolate 1 15gc/rxt | Unknown | FAM | OprL | No Ct
E1 | Dong - Clinical Isolate 1 7.5gc/rxt | Unknown | FAM | OprL | No Ct
E2 | Dong - Clinical Isolate 1 7.5gc/rxt | Unknown | FAM | OprL | 51.45
E3 | Dong - Clinical Isolate 1 7.5gc/rxt | Unknown | FAM | OprL | No Ct
E4 | Dong - Clinical Isolate 1 7.5gc/rxt | Unknown | FAM | OprL | No Ct
E5 | Dong - Clinical Isolate 1 7.5gc/rxt | Unknown | FAM | OprL | No Ct
E6 | Dong - Clinical Isolate 1 7.5gc/rxt | Unknown | FAM | OprL | No Ct
E7 | Dong - Clinical Isolate 1 7.5gc/rxt | Unknown | FAM | OprL | No Ct
E8 | Dong - Clinical Isolate 1 7.5gc/rxt | Unknown | FAM | OprL | No Ct
E9 | Dong - Clinical Isolate 1 7.5gc/rxt | Unknown | FAM | OprL | No Ct
E10 | Dong - Clinical Isolate 1 7.5gc/rxt | Unknown | FAM | OprL | No Ct
E11 | Dong - Clinical Isolate 1 7.5gc/rxt | Unknown | FAM | OprL | No Ct
E12 | Dong - Clinical Isolate 1 7.5gc/rxt | Unknown | FAM | OprL | No Ct
F1 | Dong - Clinical Isolate 1 3.75gc/rxt | Unknown | FAM | OprL | No Ct
F2 | Dong - Clinical Isolate 1 3.75gc/rxt | Unknown | FAM | OprL | No Ct
F3 | Dong - Clinical Isolate 1 3.75gc/rxt | Unknown | FAM | OprL | No Ct
F4 | Dong - Clinical Isolate 1 3.75gc/rxt | Unknown | FAM | OprL | No Ct
F5 | Dong - Clinical Isolate 1 3.75gc/rxt | Unknown | FAM | OprL | No Ct
F6 | Dong - Clinical Isolate 1 3.75gc/rxt | Unknown | FAM | OprL | No Ct
F7 | Dong - Clinical Isolate 1 3.75gc/rxt | Unknown | FAM | OprL | No Ct
F8 | Dong - Clinical Isolate 1 3.75gc/rxt | Unknown | FAM | OprL | No Ct
F9 | Dong - Clinical Isolate 1 3.75gc/rxt | Unknown | FAM | OprL | No Ct
F10 | Dong - Clinical Isolate 1 3.75gc/rxt | Unknown | FAM | OprL | No Ct
F11 | Dong - Clinical Isolate 1 3.75gc/rxt | Unknown | FAM | OprL | No Ct
F12 | Dong - Clinical Isolate 1 3.75gc/rxt | Unknown | FAM | OprL | No Ct
G1 | Dong - Clinical Isolate 1 1.875gc/rxt | Unknown | FAM | OprL | No Ct
G2 | Dong - Clinical Isolate 1 1.875gc/rxt | Unknown | FAM | OprL | No Ct
G3 | Dong - Clinical Isolate 1 1.875gc/rxt | Unknown | FAM | OprL | 45.07
G4 | Dong - Clinical Isolate 1 1.875gc/rxt | Unknown | FAM | OprL | No Ct
G5 | Dong - Clinical Isolate 1 1.875gc/rxt | Unknown | FAM | OprL | No Ct
G6 | Dong - Clinical Isolate 1 1.875gc/rxt | Unknown | FAM | OprL | No Ct
G7 | Dong - Clinical Isolate 1 1.875gc/rxt | Unknown | FAM | OprL | No Ct
G8 | Dong - Clinical Isolate 1 1.875gc/rxt | Unknown | FAM | OprL | No Ct
G9 | Dong - Clinical Isolate 1 1.875gc/rxt | Unknown | FAM | OprL | No Ct
G10 | Dong - Clinical Isolate 1 1.875gc/rxt | Unknown | FAM | OprL | No Ct
G11 | Dong - Clinical Isolate 1 1.875gc/rxt | Unknown | FAM | OprL | No Ct
G12 | Dong - Clinical Isolate 1 1.875gc/rxt | Unknown | FAM | OprL | 23.53
H1 | Dong - Clinical Isolate 1 0.9375gc/rxt | Unknown | FAM | OprL | No Ct
H2 | Dong - Clinical Isolate 1 0.9375gc/rxt | Unknown | FAM | OprL | No Ct
H3 | Dong - Clinical Isolate 1 0.9375gc/rxt | Unknown | FAM | OprL | No Ct
H4 | Dong - Clinical Isolate 1 0.9375gc/rxt | Unknown | FAM | OprL | No Ct
H5 | Dong - Clinical Isolate 1 0.9375gc/rxt | Unknown | FAM | OprL | No Ct
H6 | Dong - Clinical Isolate 1 0.9375gc/rxt | Unknown | FAM | OprL | No Ct
H7 | Dong - Clinical Isolate 1 0.9375gc/rxt | Unknown | FAM | OprL | No Ct
H8 | Dong - Clinical Isolate 1 0.9375gc/rxt | Unknown | FAM | OprL | No Ct
H9 | Dong - Clinical Isolate 1 0.9375gc/rxt | Unknown | FAM | OprL | No Ct
H10 | Dong - Clinical Isolate 1 0.9375gc/rxt | Unknown | FAM | OprL | No Ct
H11 | Dong - Clinical Isolate 1 0.9375gc/rxt | Unknown | FAM | OprL | No Ct
H12 | Dong - Clinical Isolate 1 0.9375gc/rxt | Unknown | FAM | OprL | No Ct
Title:
Date/Time: | 04.06.2024 | 14:13:21
Device: | qTOWER³/G | 3107B-1529
Operator:
Comments:
Colors+Dyes: | Pos | Color Module | Dye | Gain | Meas | Refr
| 1 | Blue.470.520.11.3 | FAM | 5 | *
| 2 | Green.515.545.11.2 | JOE | 5
Heated Lid: | 100°C
TC Protocol: | steps | scan | °C | m:s | goto | loops | delta Temp(°C) | delta Time (s) | ramp (°C/s
| 1 | * | 65 | 01:00 | 1 | 59 | 0 | 0 | 8
Melt active: | No
Meas. Repeats: | 3
Color Comp.:
Well | Sample name | Sample type | Dye | Gene | Ct | Mean Ct
B1 | Dong - Clinical Isolate1 240 gc/rxt | Unknown | FAM | OprL | No Ct
B2 | Dong - Clinical Isolate1 240 gc/rxt | Unknown | FAM | OprL | 39.07
B3 | Dong - Clinical Isolate1 240 gc/rxt | Unknown | FAM | OprL | 26.64
B4 | Dong - Clinical Isolate1 240 gc/rxt | Unknown | FAM | OprL | 25.3
B5 | Dong - Clinical Isolate1 240 gc/rxt | Unknown | FAM | OprL | 37.34
B6 | Dong - Clinical Isolate1 240 gc/rxt | Unknown | FAM | OprL | 26.92
B7 | Dong - Clinical Isolate1 240 gc/rxt | Unknown | FAM | OprL | 24.31
B8 | Dong - Clinical Isolate1 240 gc/rxt | Unknown | FAM | OprL | 24.56
B9 | Dong - Clinical Isolate1 240 gc/rxt | Unknown | FAM | OprL | 23.94
B10 | Dong - Clinical Isolate1 240 gc/rxt | Unknown | FAM | OprL | 27.31
B11 | Dong - Clinical Isolate1 240 gc/rxt | Unknown | FAM | OprL | 29.74
B12 | Dong - Clinical Isolate1 240 gc/rxt | Unknown | FAM | OprL | No Ct
Title:
Date/Time: | 05.06.2024 | 09:21:46
Device: | qTOWER³/G | 3107B-1529
Operator:
Comments:
Colors+Dyes: | Pos | Color Module | Dye | Gain | Meas | Refr
| 1 | Blue.470.520.11.3 | FAM | 5 | *
| 2 | Green.515.545.11.2 | JOE | 5
Heated Lid: | 100°C
TC Protocol: | steps | scan | °C | m:s | goto | loops | delta Temp(°C) | delta Time (s) | ramp (°C/s
| 1 | * | 65 | 01:00 | 1 | 59 | 0 | 0 | 8
Melt active: | No
Meas. Repeats: | 3
Color Comp.:
Well | Sample name | Sample type | Dye | Gene | Ct | Mean Ct
C1 | Dong - Clinical Isolate 1 480 gc/rxt | Unknown | FAM | OprL | 16.15
C2 | Dong - Clinical Isolate 1 480 gc/rxt | Unknown | FAM | OprL | 17.45
C3 | Dong - Clinical Isolate 1 480 gc/rxt | Unknown | FAM | OprL | 16.24
C4 | Dong - Clinical Isolate 1 480 gc/rxt | Unknown | FAM | OprL | 17.38
C5 | Dong - Clinical Isolate 1 480 gc/rxt | Unknown | FAM | OprL | 17.79
C6 | Dong - Clinical Isolate 1 480 gc/rxt | Unknown | FAM | OprL | 17.58
C7 | Dong - Clinical Isolate 1 480 gc/rxt | Unknown | FAM | OprL | 16.44
C8 | Dong - Clinical Isolate 1 480 gc/rxt | Unknown | FAM | OprL | 17.86
C9 | Dong - Clinical Isolate 1 480 gc/rxt | Unknown | FAM | OprL | 14.47
C10 | Dong - Clinical Isolate 1 480 gc/rxt | Unknown | FAM | OprL | 17.06
C11 | Dong - Clinical Isolate 1 480 gc/rxt | Unknown | FAM | OprL | 20.41
C12 | Dong - Clinical Isolate 1 480 gc/rxt | Unknown | FAM | OprL | 15.32
D1 | Dong - Clinical Isolate 1 960 gc/rxt | Unknown | FAM | OprL | 18.77
D2 | Dong - Clinical Isolate 1 960 gc/rxt | Unknown | FAM | OprL | 16.52
D3 | Dong - Clinical Isolate 1 960 gc/rxt | Unknown | FAM | OprL | 15.32
D4 | Dong - Clinical Isolate 1 960 gc/rxt | Unknown | FAM | OprL | 17.53
D5 | Dong - Clinical Isolate 1 960 gc/rxt | Unknown | FAM | OprL | 15.38
D6 | Dong - Clinical Isolate 1 960 gc/rxt | Unknown | FAM | OprL | 16.6
D7 | Dong - Clinical Isolate 1 960 gc/rxt | Unknown | FAM | OprL | 17.87
D8 | Dong - Clinical Isolate 1 960 gc/rxt | Unknown | FAM | OprL | 17.14
D9 | Dong - Clinical Isolate 1 960 gc/rxt | Unknown | FAM | OprL | 15.84
D10 | Dong - Clinical Isolate 1 960 gc/rxt | Unknown | FAM | OprL | 15.35
D11 | Dong - Clinical Isolate 1 960 gc/rxt | Unknown | FAM | OprL | 14.72
D12 | Dong - Clinical Isolate 1 960 gc/rxt | Unknown | FAM | OprL | 14.28