## E. coli
Title: | Spiked Samples | [8 empty] | Title: | non-spiked Samples
Date/Time: | 27.05.2025 | 10:09:03 | [7 empty] | Date/Time: | 27.05.2025 | 11:40:22
Device: | qTOWER³/G | 3107B-1529 | [7 empty] | Device: | qTOWER³/G | 3107B-1529
Operator: | [9 empty] | Operator:
Comments: | [9 empty] | Comments:
Colors+Dyes: | Pos | Color Module | Dye | Gain | Meas | Refr |  |  |  | Colors+Dyes: | Pos | Color Module | Dye | Gain | Meas | Refr
| 1 | Blue.470.520.11.3 | FAM | 5 | * | [5 empty] | 1 | Blue.470.520.11.3 | FAM | 5 | *
| 2 | Green.515.545.11.2 | JOE | 5 | [6 empty] | 2 | Green.515.545.11.2 | JOE | 5
Heated Lid: | 100°C | [8 empty] | Heated Lid: | 100°C
TC Protocol: | steps | scan | °C | m:s | goto | loops | delta Temp(°C) | delta Time (s) | ramp (°C/s | TC Protocol: | steps | scan | °C | m:s | goto | loops | delta Temp(°C) | delta Time (s) | ramp (°C/s
| 1 |  | 95 | 05:00 | 0 | 0 | 0 | 0 | 8 |  | 1 |  | 95 | 05:00 | 0 | 0 | 0 | 0 | 8
| 2 |  | 95 | 00:15 | 0 | 0 | 0 | 0 | 8 |  | 2 |  | 95 | 00:15 | 0 | 0 | 0 | 0 | 8
| 3 | * | 60 | 01:00 | 2 | 44 | 0 | 0 | 6 |  | 3 | * | 60 | 01:00 | 2 | 44 | 0 | 0 | 6
Melt active: | No | [8 empty] | Melt active: | No
Meas. Repeats: | 3 | [8 empty] | Meas. Repeats: | 3
Color Comp.: | [9 empty] | Color Comp.:
Well | Sample name | Sample type | Dye | Gene | Ct |  |  |  |  | Well | Sample name | Sample type | Dye | Gene | Ct
A1 | 1 | Standard | FAM | 23S | 36.35 |  |  |  |  | A1 | 1 | Standard | FAM | 23S | 33.12
A2 | 1 | Standard | FAM | 23S | 35.72 |  |  |  |  | A2 | 1 | Standard | FAM | 23S | 35.28
A3 | 1 | Standard | FAM | 23S | 35.12 |  |  |  |  | A3 | 1 | Standard | FAM | 23S | 35.03
A4 | Wastewater P/C_A | Unknown | FAM | 23S | 15.52 |  |  |  |  | A4 | Wastewater n.S. P/C_A | Unknown | FAM | 23S | 25.45
A5 | Wastewater P/C_A | Unknown | FAM | 23S | 16.3 |  |  |  |  | A5 | Wastewater n.S. P/C_A | Unknown | FAM | 23S | 25.05
A6 | Wastewater P/C_A | Unknown | FAM | 23S | 16.19 |  |  |  |  | A6 | Wastewater n.S. P/C_A | Unknown | FAM | 23S | 24.95
A7 | Surface water QPS_A | Unknown | FAM | 23S | 12.74 |  |  |  |  | A7 | Surface water n.S. QPS_A | Unknown | FAM | 23S | 31.07
A8 | Surface water QPS_A | Unknown | FAM | 23S | 12.59 |  |  |  |  | A8 | Surface water n.S. QPS_A | Unknown | FAM | 23S | 32.81
A9 | Surface water QPS_A | Unknown | FAM | 23S | 12.28 |  |  |  |  | A9 | Surface water n.S. QPS_A | Unknown | FAM | 23S | 32.81
A10 | Groundwater F+ IL + MB_A | Unknown | FAM | 23S | 13.45 |  |  |  |  | A10 | Groundwater n.S. F+ IL + MB_A | Unknown | FAM | 23S | 32.72
A11 | Groundwater F+ IL + MB_A | Unknown | FAM | 23S | 14.7 |  |  |  |  | A11 | Groundwater n.S. F+ IL + MB_A | Unknown | FAM | 23S | 32.01
A12 | Groundwater F+ IL + MB_A | Unknown | FAM | 23S | 13.79 |  |  |  |  | A12 | Groundwater n.S. F+ IL + MB_A | Unknown | FAM | 23S | 31.61
B1 | 2 | Standard | FAM | 23S | 32.62 |  |  |  |  | B1 | 2 | Standard | FAM | 23S | 31.83
B2 | 2 | Standard | FAM | 23S | 32.41 |  |  |  |  | B2 | 2 | Standard | FAM | 23S | 31.6
B3 | 2 | Standard | FAM | 23S | 32.59 |  |  |  |  | B3 | 2 | Standard | FAM | 23S | 31.7
B4 | Wastewater P/C_B | Unknown | FAM | 23S | 16.38 |  |  |  |  | B4 | Wastewater n.S. P/C_B | Unknown | FAM | 23S | 23.24
B5 | Wastewater P/C_B | Unknown | FAM | 23S | 15.87 |  |  |  |  | B5 | Wastewater n.S. P/C_B | Unknown | FAM | 23S | 23.72
B6 | Wastewater P/C_B | Unknown | FAM | 23S | 16.09 |  |  |  |  | B6 | Wastewater n.S. P/C_B | Unknown | FAM | 23S | 22.6
B7 | Surface water QPS_B | Unknown | FAM | 23S | 12.21 |  |  |  |  | B7 | Surface water n.S. QPS_B | Unknown | FAM | 23S | 31.45
B8 | Surface water QPS_B | Unknown | FAM | 23S | 11.2 |  |  |  |  | B8 | Surface water n.S. QPS_B | Unknown | FAM | 23S | 31.12
B9 | Surface water QPS_B | Unknown | FAM | 23S | 11.28 |  |  |  |  | B9 | Surface water n.S. QPS_B | Unknown | FAM | 23S | 31.72
B10 | Groundwater F + IL + MB_B | Unknown | FAM | 23S | 14.04 |  |  |  |  | B10 | Groundwater n.S. F+ IL + MB_B | Unknown | FAM | 23S | 32.21
B11 | Groundwater F + IL + MB_B | Unknown | FAM | 23S | 14.05 |  |  |  |  | B11 | Groundwater n.S. F+ IL + MB_B | Unknown | FAM | 23S | 33.72
B12 | Groundwater F + IL + MB_B | Unknown | FAM | 23S | 14.21 |  |  |  |  | B12 | Groundwater n.S. F+ IL + MB_B | Unknown | FAM | 23S | 33.24
C1 | 3 | Standard | FAM | 23S | 29.31 |  |  |  |  | C1 | 3 | Standard | FAM | 23S | 27.95
C2 | 3 | Standard | FAM | 23S | 29.23 |  |  |  |  | C2 | 3 | Standard | FAM | 23S | 28.2
C3 | 3 | Standard | FAM | 23S | 29.13 |  |  |  |  | C3 | 3 | Standard | FAM | 23S | 28.05
C4 | Wastewater QPS_A | Unknown | FAM | 23S | 13.73 |  |  |  |  | C4 | Wastewater n.S. QPS_A | Unknown | FAM | 23S | 22.32
C5 | Wastewater QPS_A | Unknown | FAM | 23S | 13.4 |  |  |  |  | C5 | Wastewater n.S. QPS_A | Unknown | FAM | 23S | 21.59
C6 | Wastewater QPS_A | Unknown | FAM | 23S | 13.34 |  |  |  |  | C6 | Wastewater n.S. QPS_A | Unknown | FAM | 23S | 22.45
C7 | Surface water F+ IL + MB_A | Unknown | FAM | 23S | 12.05 |  |  |  |  | C7 | Surface water n.S. F+ IL + MB_A | Unknown | FAM | 23S | 33.19
C8 | Surface water F+ IL + MB_A | Unknown | FAM | 23S | 12.64 |  |  |  |  | C8 | Surface water n.S. F+ IL + MB_A | Unknown | FAM | 23S | 33.68
C9 | Surface water F+ IL + MB_A | Unknown | FAM | 23S | 13.08 |  |  |  |  | C9 | Surface water n.S. F+ IL + MB_A | Unknown | FAM | 23S | 33.38
C10 | P/C Extrac. Control_A | Unknown | FAM | 23S | No Ct |  |  |  |  | D1 | 4 | Standard | FAM | 23S | 24.73
C11 | P/C Extrac. Control_A | Unknown | FAM | 23S | No Ct |  |  |  |  | D2 | 4 | Standard | FAM | 23S | 25.06
C12 | P/C Extrac. Control_A | Unknown | FAM | 23S | No Ct |  |  |  |  | D3 | 4 | Standard | FAM | 23S | 24.09
D1 | 4 | Standard | FAM | 23S | 25.75 |  |  |  |  | D4 | Wastewater n.S. QPS_B | Unknown | FAM | 23S | 22.18
D2 | 4 | Standard | FAM | 23S | 25.56 |  |  |  |  | D5 | Wastewater n.S. QPS_B | Unknown | FAM | 23S | 22.4
D3 | 4 | Standard | FAM | 23S | 25.18 |  |  |  |  | D6 | Wastewater n.S. QPS_B | Unknown | FAM | 23S | 22.28
D4 | Wastewater QPS_B | Unknown | FAM | 23S | 13.77 |  |  |  |  | D7 | Surface water n.S. F+ IL + MB_B | Unknown | FAM | 23S | 33.55
D5 | Wastewater QPS_B | Unknown | FAM | 23S | 13.94 |  |  |  |  | D8 | Surface water n.S. F+ IL + MB_B | Unknown | FAM | 23S | 34.18
D6 | Wastewater QPS_B | Unknown | FAM | 23S | 14.08 |  |  |  |  | D9 | Surface water n.S. F+ IL + MB_B | Unknown | FAM | 23S | 33.68
D7 | Surface water F+ IL + MB_B | Unknown | FAM | 23S | 13.26 |  |  |  |  | E1 | 5 | Standard | FAM | 23S | 21.69
D8 | Surface water F+ IL + MB_B | Unknown | FAM | 23S | 13 |  |  |  |  | E2 | 5 | Standard | FAM | 23S | 22.03
D9 | Surface water F+ IL + MB_B | Unknown | FAM | 23S | 13.59 |  |  |  |  | E3 | 5 | Standard | FAM | 23S | 21.6
D10 | P/C Extrac. Control_B | Unknown | FAM | 23S | No Ct |  |  |  |  | E4 | Wastewater n.S. F+ IL + MB_A | Unknown | FAM | 23S | 21.74
D11 | P/C Extrac. Control_B | Unknown | FAM | 23S | No Ct |  |  |  |  | E5 | Wastewater n.S. F+ IL + MB_A | Unknown | FAM | 23S | 21.99
D12 | P/C Extrac. Control_B | Unknown | FAM | 23S | No Ct |  |  |  |  | E6 | Wastewater n.S. F+ IL + MB_A | Unknown | FAM | 23S | 22.42
E1 | 5 | Standard | FAM | 23S | 23.07 |  |  |  |  | E7 | Groundwater n.S. P/C_A | Unknown | FAM | 23S | 30.35
E2 | 5 | Standard | FAM | 23S | 22.43 |  |  |  |  | E8 | Groundwater n.S. P/C_A | Unknown | FAM | 23S | 31.6
E3 | 5 | Standard | FAM | 23S | 23.21 |  |  |  |  | E9 | Groundwater n.S. P/C_A | Unknown | FAM | 23S | 31.9
E4 | Wastewater F + IL + MB_A | Unknown | FAM | 23S | 13.87 |  |  |  |  | F1 | 6 | Standard | FAM | 23S | 18.58
E5 | Wastewater F + IL + MB_A | Unknown | FAM | 23S | 14.52 |  |  |  |  | F2 | 6 | Standard | FAM | 23S | 18.35
E6 | Wastewater F + IL + MB_A | Unknown | FAM | 23S | 14.1 |  |  |  |  | F3 | 6 | Standard | FAM | 23S | 17.34
E7 | Groundwater P/C_A | Unknown | FAM | 23S | 14.82 |  |  |  |  | F4 | Wastewater n.S. F+ IL + MB_B | Unknown | FAM | 23S | 22.49
E8 | Groundwater P/C_A | Unknown | FAM | 23S | 14.01 |  |  |  |  | F5 | Wastewater n.S. F+ IL + MB_B | Unknown | FAM | 23S | 23.13
E9 | Groundwater P/C_A | Unknown | FAM | 23S | 14.6 |  |  |  |  | F6 | Wastewater n.S. F+ IL + MB_B | Unknown | FAM | 23S | 22.62
E10 | QPS Extrac. Control_A | Unknown | FAM | 23S | No Ct |  |  |  |  | F7 | Groundwater n.S. P/C_B | Unknown | FAM | 23S | 29.35
E11 | QPS Extrac. Control_A | Unknown | FAM | 23S | No Ct |  |  |  |  | F8 | Groundwater n.S. P/C_B | Unknown | FAM | 23S | 29.14
E12 | QPS Extrac. Control_A | Unknown | FAM | 23S | No Ct |  |  |  |  | F9 | Groundwater n.S. P/C_B | Unknown | FAM | 23S | 30.22
F1 | 6 | Standard | FAM | 23S | 18.82 |  |  |  |  | G1 | 7 | Standard | FAM | 23S | 15.01
F2 | 6 | Standard | FAM | 23S | 19.5 |  |  |  |  | G2 | 7 | Standard | FAM | 23S | 15.06
F3 | 6 | Standard | FAM | 23S | 18.27 |  |  |  |  | G3 | 7 | Standard | FAM | 23S | 14.57
F4 | Wastewater F + IL + MB_B | Unknown | FAM | 23S | 14.15 |  |  |  |  | G4 | Surface water n.S. P/C_A | Unknown | FAM | 23S | 24.56
F5 | Wastewater F + IL + MB_B | Unknown | FAM | 23S | 13.09 |  |  |  |  | G5 | Surface water n.S. P/C_A | Unknown | FAM | 23S | 25.04
F6 | Wastewater F + IL + MB_B | Unknown | FAM | 23S | 14.03 |  |  |  |  | G6 | Surface water n.S. P/C_A | Unknown | FAM | 23S | 24.88
F7 | Groundwater P/C_B | Unknown | FAM | 23S | 15.16 |  |  |  |  | G7 | Groundwater n.S. QPS_A | Unknown | FAM | 23S | 30.16
F8 | Groundwater P/C_B | Unknown | FAM | 23S | 15.19 |  |  |  |  | G8 | Groundwater n.S. QPS_A | Unknown | FAM | 23S | 29.69
F9 | Groundwater P/C_B | Unknown | FAM | 23S | 15.15 |  |  |  |  | G9 | Groundwater n.S. QPS_A | Unknown | FAM | 23S | 29.47
F10 | QPS Extrac. Control_B | Unknown | FAM | 23S | No Ct |  |  |  |  | H1 | MM | NTC | FAM | 23S | No Ct
F11 | QPS Extrac. Control_B | Unknown | FAM | 23S | No Ct |  |  |  |  | H2 | MM | NTC | FAM | 23S | No Ct
F12 | QPS Extrac. Control_B | Unknown | FAM | 23S | No Ct |  |  |  |  | H3 | MM | NTC | FAM | 23S | No Ct
G1 | 7 | Standard | FAM | 23S | 14.89 |  |  |  |  | H4 | Surface water n.S. P/C_B | Unknown | FAM | 23S | 22.69
G2 | 7 | Standard | FAM | 23S | 14.86 |  |  |  |  | H5 | Surface water n.S. P/C_B | Unknown | FAM | 23S | 24.6
G3 | 7 | Standard | FAM | 23S | 16.19 |  |  |  |  | H6 | Surface water n.S. P/C_B | Unknown | FAM | 23S | 24.3
G4 | Surface water P/C_A | Unknown | FAM | 23S | 23.29 |  |  |  |  | H7 | Groundwater n.S. QPS_B | Unknown | FAM | 23S | 31.62
G5 | Surface water P/C_A | Unknown | FAM | 23S | 23.37 |  |  |  |  | H8 | Groundwater n.S. QPS_B | Unknown | FAM | 23S | 31.27
G6 | Surface water P/C_A | Unknown | FAM | 23S | 23.36 |  |  |  |  | H9 | Groundwater n.S. QPS_B | Unknown | FAM | 23S | 31.46
G7 | Groundwater QPS_A | Unknown | FAM | 23S | 12.66
G8 | Groundwater QPS_A | Unknown | FAM | 23S | 12.34
G9 | Groundwater QPS_A | Unknown | FAM | 23S | 12.3
G10 | F + IL + MB Extrac. Control_A | Unknown | FAM | 23S | No Ct
G11 | F + IL + MB Extrac. Control_A | Unknown | FAM | 23S | No Ct
G12 | F + IL + MB Extrac. Control_A | Unknown | FAM | 23S | No Ct
H1 | MM | NTC | FAM | 23S | No Ct
H2 | MM | NTC | FAM | 23S | No Ct
H3 | MM | NTC | FAM | 23S | No Ct
H4 | Surface water P/C_B | Unknown | FAM | 23S | 13.24
H5 | Surface water P/C_B | Unknown | FAM | 23S | 13.28
H6 | Surface water P/C_B | Unknown | FAM | 23S | 13.1
H7 | Groundwater QPS_B | Unknown | FAM | 23S | 10
H8 | Groundwater QPS_B | Unknown | FAM | 23S | 12.42
H9 | Groundwater QPS_B | Unknown | FAM | 23S | 12
H10 | F + IL + MB Extrac. Control_B | Unknown | FAM | 23S | No Ct
H11 | F + IL + MB Extrac. Control_B | Unknown | FAM | 23S | No Ct
H12 | F + IL + MB Extrac. Control_B | Unknown | FAM | 23S | No Ct

## P. aeurginosa
Title: | Spiked Samples | [8 empty] | Title: | non-spiked Samples
Date/Time: | 26.05.2025 | 10:44:21 | [7 empty] | Date/Time: | 26.05.2025 | 15:24:38
Device: | qTOWER³/G | 3107B-1529 | [7 empty] | Device: | qTOWER³/G | 3107B-1529
Operator: | [9 empty] | Operator:
Comments: | [9 empty] | Comments:
Colors+Dyes: | Pos | Color Module | Dye | Gain | Meas | Refr |  |  |  | Colors+Dyes: | Pos | Color Module | Dye | Gain | Meas | Refr
| 1 | Blue.470.520.11.3 | FAM | 5 | * | [5 empty] | 1 | Blue.470.520.11.3 | FAM | 5 | *
| 2 | Green.515.545.11.2 | JOE | 5 | [6 empty] | 2 | Green.515.545.11.2 | JOE | 5
Heated Lid: | 100°C | [8 empty] | Heated Lid: | 100°C
TC Protocol: | steps | scan | °C | m:s | goto | loops | delta Temp(°C) | delta Time (s) | ramp (°C/s | TC Protocol: | steps | scan | °C | m:s | goto | loops | delta Temp(°C) | delta Time (s) | ramp (°C/s
| 1 |  | 95 | 01:00 | 0 | 0 | 0 | 0 | 8 |  | 1 |  | 95 | 01:00 | 0 | 0 | 0 | 0 | 8
| 2 |  | 95 | 00:30 | 0 | 0 | 0 | 0 | 8 |  | 2 |  | 95 | 00:30 | 0 | 0 | 0 | 0 | 8
| 3 | * | 58 | 01:30 | 2 | 44 | 0 | 0 | 6 |  | 3 | * | 58 | 01:30 | 2 | 44 | 0 | 0 | 6
| 4 |  | 95 | 00:01 | 0 | 0 | 0 | 0 | 8 |  | 4 |  | 95 | 00:01 | 0 | 0 | 0 | 0 | 8
Melt active: | No | [8 empty] | Melt active: | No
Meas. Repeats: | 3 | [8 empty] | Meas. Repeats: | 3
Color Comp.: | [9 empty] | Color Comp.:
Well | Sample name | Sample type | Dye | Gene | Ct |  |  |  |  | Well | Sample name | Sample type | Dye | Gene | Ct
A1 | 1 | Standard | FAM | GyrB | 39.35 |  |  |  |  | A1 | 1 | Standard | FAM | GyrB | 36.82
A2 | 1 | Standard | FAM | GyrB | 37.5 |  |  |  |  | A2 | 1 | Standard | FAM | GyrB | 37.49
A3 | 1 | Standard | FAM | GyrB | 38.26 |  |  |  |  | A3 | 1 | Standard | FAM | GyrB | 39.34
A4 | Wastewater P/C_A | Unknown | FAM | GyrB | 20.19 |  |  |  |  | A4 | Wastewater n.S. P/C_A | Unknown | FAM | GyrB | 30.53
A5 | Wastewater P/C_A | Unknown | FAM | GyrB | 19.86 |  |  |  |  | A5 | Wastewater n.S. P/C_A | Unknown | FAM | GyrB | 30.18
A6 | Wastewater P/C_A | Unknown | FAM | GyrB | 20.17 |  |  |  |  | A6 | Wastewater n.S. P/C_A | Unknown | FAM | GyrB | 29.99
A7 | Surface water P/C_A | Unknown | FAM | GyrB | 20.07 |  |  |  |  | A7 | Surface water n.S. QPS_A | Unknown | FAM | GyrB | No Ct
A8 | Surface water P/C_A | Unknown | FAM | GyrB | 20.02 |  |  |  |  | A8 | Surface water n.S. QPS_A | Unknown | FAM | GyrB | No Ct
A9 | Surface water P/C_A | Unknown | FAM | GyrB | 20.14 |  |  |  |  | A9 | Surface water n.S. QPS_A | Unknown | FAM | GyrB | 36.87
A10 | Groundwater P/C_A | Unknown | FAM | GyrB | 20.22 |  |  |  |  | A10 | Groundwater n.S. F+ IL + MB_A | Unknown | FAM | GyrB | 36.48
A11 | Groundwater P/C_A | Unknown | FAM | GyrB | 20.44 |  |  |  |  | A11 | Groundwater n.S. F+ IL + MB_A | Unknown | FAM | GyrB | 35.97
A12 | Groundwater P/C_A | Unknown | FAM | GyrB | 20.62 |  |  |  |  | A12 | Groundwater n.S. F+ IL + MB_A | Unknown | FAM | GyrB | 36.36
B1 | 2 | Standard | FAM | GyrB | 33.96 |  |  |  |  | B1 | 2 | Standard | FAM | GyrB | 33.08
B2 | 2 | Standard | FAM | GyrB | 33.95 |  |  |  |  | B2 | 2 | Standard | FAM | GyrB | 34.06
B3 | 2 | Standard | FAM | GyrB | 33.81 |  |  |  |  | B3 | 2 | Standard | FAM | GyrB | 33.71
B4 | Wastewater P/C_B | Unknown | FAM | GyrB | 20.96 |  |  |  |  | B4 | Wastewater n.S. P/C_B | Unknown | FAM | GyrB | 28.71
B5 | Wastewater P/C_B | Unknown | FAM | GyrB | 20.09 |  |  |  |  | B5 | Wastewater n.S. P/C_B | Unknown | FAM | GyrB | 28.85
B6 | Wastewater P/C_B | Unknown | FAM | GyrB | 21.27 |  |  |  |  | B6 | Wastewater n.S. P/C_B | Unknown | FAM | GyrB | 28.57
B7 | Surface water P/C_B | Unknown | FAM | GyrB | 20.15 |  |  |  |  | B7 | Surface water n.S. QPS_B | Unknown | FAM | GyrB | No Ct
B8 | Surface water P/C_B | Unknown | FAM | GyrB | 20.05 |  |  |  |  | B8 | Surface water n.S. QPS_B | Unknown | FAM | GyrB | 36.43
B9 | Surface water P/C_B | Unknown | FAM | GyrB | 20.16 |  |  |  |  | B9 | Surface water n.S. QPS_B | Unknown | FAM | GyrB | 35.79
B10 | Groundwater P/C_B | Unknown | FAM | GyrB | 19.83 |  |  |  |  | B10 | Groundwater n.S. F+ IL + MB_B | Unknown | FAM | GyrB | 37.37
B11 | Groundwater P/C_B | Unknown | FAM | GyrB | 19.73 |  |  |  |  | B11 | Groundwater n.S. F+ IL + MB_B | Unknown | FAM | GyrB | 38.83
B12 | Groundwater P/C_B | Unknown | FAM | GyrB | 20.39 |  |  |  |  | B12 | Groundwater n.S. F+ IL + MB_B | Unknown | FAM | GyrB | 39.57
C1 | 3 | Standard | FAM | GyrB | 31.03 |  |  |  |  | C1 | 3 | Standard | FAM | GyrB | 31.11
C2 | 3 | Standard | FAM | GyrB | 30.65 |  |  |  |  | C2 | 3 | Standard | FAM | GyrB | 30.97
C3 | 3 | Standard | FAM | GyrB | 30.54 |  |  |  |  | C3 | 3 | Standard | FAM | GyrB | 30.91
C4 | Wastewater QPS_A | Unknown | FAM | GyrB | 19.58 |  |  |  |  | C4 | Wastewater n.S. QPS_A | Unknown | FAM | GyrB | 28.32
C5 | Wastewater QPS_A | Unknown | FAM | GyrB | 19.39 |  |  |  |  | C5 | Wastewater n.S. QPS_A | Unknown | FAM | GyrB | 28.38
C6 | Wastewater QPS_A | Unknown | FAM | GyrB | 19.28 |  |  |  |  | C6 | Wastewater n.S. QPS_A | Unknown | FAM | GyrB | 28.33
C7 | Surface water QPS_A | Unknown | FAM | GyrB | 19.55 |  |  |  |  | C7 | Surface water n.S. F+ IL + MB_A | Unknown | FAM | GyrB | No Ct
C8 | Surface water QPS_A | Unknown | FAM | GyrB | 18.97 |  |  |  |  | C8 | Surface water n.S. F+ IL + MB_A | Unknown | FAM | GyrB | 35.98
C9 | Surface water QPS_A | Unknown | FAM | GyrB | 19.19 |  |  |  |  | C9 | Surface water n.S. F+ IL + MB_A | Unknown | FAM | GyrB | No Ct
C10 | P/C Extrac. Control_A | Unknown | FAM | GyrB | No Ct |  |  |  |  | D1 | 4 | Standard | FAM | GyrB | 27.16
C11 | P/C Extrac. Control_A | Unknown | FAM | GyrB | No Ct |  |  |  |  | D2 | 4 | Standard | FAM | GyrB | 27
C12 | P/C Extrac. Control_A | Unknown | FAM | GyrB | No Ct |  |  |  |  | D3 | 4 | Standard | FAM | GyrB | 26.91
D1 | 4 | Standard | FAM | GyrB | 27.44 |  |  |  |  | D4 | Wastewater n.S. QPS_B | Unknown | FAM | GyrB | 28.06
D2 | 4 | Standard | FAM | GyrB | 26.89 |  |  |  |  | D5 | Wastewater n.S. QPS_B | Unknown | FAM | GyrB | 28.42
D3 | 4 | Standard | FAM | GyrB | 27.04 |  |  |  |  | D6 | Wastewater n.S. QPS_B | Unknown | FAM | GyrB | 28.48
D4 | Wastewater QPS_B | Unknown | FAM | GyrB | 19.17 |  |  |  |  | D7 | Surface water n.S. F+ IL + MB_B | Unknown | FAM | GyrB | No Ct
D5 | Wastewater QPS_B | Unknown | FAM | GyrB | 19.22 |  |  |  |  | D8 | Surface water n.S. F+ IL + MB_B | Unknown | FAM | GyrB | 35.08
D6 | Wastewater QPS_B | Unknown | FAM | GyrB | 19.03 |  |  |  |  | D9 | Surface water n.S. F+ IL + MB_B | Unknown | FAM | GyrB | 35.55
D7 | Surface water QPS_B | Unknown | FAM | GyrB | 18.72 |  |  |  |  | E1 | 5 | Standard | FAM | GyrB | 23.83
D8 | Surface water QPS_B | Unknown | FAM | GyrB | 18.53 |  |  |  |  | E2 | 5 | Standard | FAM | GyrB | 23.34
D9 | Surface water QPS_B | Unknown | FAM | GyrB | 19.22 |  |  |  |  | E3 | 5 | Standard | FAM | GyrB | 23.36
D10 | P/C Extrac. Control_B | Unknown | FAM | GyrB | No Ct |  |  |  |  | E4 | Wastewater n.S. F+ IL + MB_A | Unknown | FAM | GyrB | 27.02
D11 | P/C Extrac. Control_B | Unknown | FAM | GyrB | No Ct |  |  |  |  | E5 | Wastewater n.S. F+ IL + MB_A | Unknown | FAM | GyrB | 27.27
D12 | P/C Extrac. Control_B | Unknown | FAM | GyrB | No Ct |  |  |  |  | E6 | Wastewater n.S. F+ IL + MB_A | Unknown | FAM | GyrB | 26.96
E1 | 5 | Standard | FAM | GyrB | 23.78 |  |  |  |  | E7 | Groundwater n.S. P/C_A | Unknown | FAM | GyrB | No Ct
E2 | 5 | Standard | FAM | GyrB | 23.39 |  |  |  |  | E8 | Groundwater n.S. P/C_A | Unknown | FAM | GyrB | No Ct
E3 | 5 | Standard | FAM | GyrB | 23.34 |  |  |  |  | E9 | Groundwater n.S. P/C_A | Unknown | FAM | GyrB | No Ct
E4 | Wastewater F + IL + MB_A | Unknown | FAM | GyrB | 19.27 |  |  |  |  | F1 | 6 | Standard | FAM | GyrB | 19.29
E5 | Wastewater F + IL + MB_A | Unknown | FAM | GyrB | 19.6 |  |  |  |  | F2 | 6 | Standard | FAM | GyrB | 19.36
E6 | Wastewater F + IL + MB_A | Unknown | FAM | GyrB | 19.3 |  |  |  |  | F3 | 6 | Standard | FAM | GyrB | 19.13
E7 | Groundwater QPS_A | Unknown | FAM | GyrB | 25.37 |  |  |  |  | F4 | Wastewater n.S. F+ IL + MB_B | Unknown | FAM | GyrB | 28.67
E8 | Groundwater QPS_A | Unknown | FAM | GyrB | 25.29 |  |  |  |  | F5 | Wastewater n.S. F+ IL + MB_B | Unknown | FAM | GyrB | 28.51
E9 | Groundwater QPS_A | Unknown | FAM | GyrB | 25.08 |  |  |  |  | F6 | Wastewater n.S. F+ IL + MB_B | Unknown | FAM | GyrB | 28.2
E10 | QPS Extrac. Control_A | Unknown | FAM | GyrB | No Ct |  |  |  |  | F7 | Groundwater n.S. P/C_B | Unknown | FAM | GyrB | No Ct
E11 | QPS Extrac. Control_A | Unknown | FAM | GyrB | No Ct |  |  |  |  | F8 | Groundwater n.S. P/C_B | Unknown | FAM | GyrB | No Ct
E12 | QPS Extrac. Control_A | Unknown | FAM | GyrB | No Ct |  |  |  |  | F9 | Groundwater n.S. P/C_B | Unknown | FAM | GyrB | No Ct
F1 | 6 | Standard | FAM | GyrB | 19.61 |  |  |  |  | G1 | 7 | Standard | FAM | GyrB | 14.95
F2 | 6 | Standard | FAM | GyrB | 19.11 |  |  |  |  | G2 | 7 | Standard | FAM | GyrB | 15.14
F3 | 6 | Standard | FAM | GyrB | 19.55 |  |  |  |  | G3 | 7 | Standard | FAM | GyrB | 15.83
F4 | Wastewater F + IL + MB_B | Unknown | FAM | GyrB | 20.05 |  |  |  |  | G4 | Surface water n.S. P/C_A | Unknown | FAM | GyrB | 31.06
F5 | Wastewater F + IL + MB_B | Unknown | FAM | GyrB | 20.25 |  |  |  |  | G5 | Surface water n.S. P/C_A | Unknown | FAM | GyrB | 31.15
F6 | Wastewater F + IL + MB_B | Unknown | FAM | GyrB | 19.49 |  |  |  |  | G6 | Surface water n.S. P/C_A | Unknown | FAM | GyrB | 30.05
F7 | Groundwater QPS_B | Unknown | FAM | GyrB | 25.35 |  |  |  |  | G7 | Groundwater n.S. QPS_A | Unknown | FAM | GyrB | 37.29
F8 | Groundwater QPS_B | Unknown | FAM | GyrB | 24.23 |  |  |  |  | G8 | Groundwater n.S. QPS_A | Unknown | FAM | GyrB | 36.33
F9 | Groundwater QPS_B | Unknown | FAM | GyrB | 23.64 |  |  |  |  | G9 | Groundwater n.S. QPS_A | Unknown | FAM | GyrB | 35.25
F10 | QPS Extrac. Control_B | Unknown | FAM | GyrB | No Ct |  |  |  |  | H1 | MM | NTC | FAM | GyrB | No Ct
F11 | QPS Extrac. Control_B | Unknown | FAM | GyrB | No Ct |  |  |  |  | H2 | MM | NTC | FAM | GyrB | No Ct
F12 | QPS Extrac. Control_B | Unknown | FAM | GyrB | No Ct |  |  |  |  | H3 | MM | NTC | FAM | GyrB | No Ct
G1 | 7 | Standard | FAM | GyrB | 15.24 |  |  |  |  | H4 | Surface water n.S. P/C_B | Unknown | FAM | GyrB | 35.3
G2 | 7 | Standard | FAM | GyrB | 15.31 |  |  |  |  | H5 | Surface water n.S. P/C_B | Unknown | FAM | GyrB | 34.87
G3 | 7 | Standard | FAM | GyrB | 15.48 |  |  |  |  | H6 | Surface water n.S. P/C_B | Unknown | FAM | GyrB | 34.56
G4 | Surface water F+ IL + MB_A | Unknown | FAM | GyrB | 20.65 |  |  |  |  | H7 | Groundwater n.S. QPS_B | Unknown | FAM | GyrB | No Ct
G5 | Surface water F+ IL + MB_A | Unknown | FAM | GyrB | 21 |  |  |  |  | H8 | Groundwater n.S. QPS_B | Unknown | FAM | GyrB | No Ct
G6 | Surface water F+ IL + MB_A | Unknown | FAM | GyrB | 20.86 |  |  |  |  | H9 | Groundwater n.S. QPS_B | Unknown | FAM | GyrB | No Ct
G7 | Groundwater F + IL + MB_A | Unknown | FAM | GyrB | 19.36
G8 | Groundwater F + IL + MB_A | Unknown | FAM | GyrB | 19.65
G9 | Groundwater F + IL + MB_A | Unknown | FAM | GyrB | 19.5
G10 | F + IL + MB Extrac. Control_A | Unknown | FAM | GyrB | No Ct
G11 | F + IL + MB Extrac. Control_A | Unknown | FAM | GyrB | No Ct
G12 | F + IL + MB Extrac. Control_A | Unknown | FAM | GyrB | No Ct
H1 | MM | NTC | FAM | GyrB | No Ct
H2 | MM | NTC | FAM | GyrB | No Ct
H3 | MM | NTC | FAM | GyrB | No Ct
H4 | Surface water F+ IL + MB_B | Unknown | FAM | GyrB | 18.41
H5 | Surface water F+ IL + MB_B | Unknown | FAM | GyrB | 20.11
H6 | Surface water F+ IL + MB_B | Unknown | FAM | GyrB | 20.85
H7 | Groundwater F + IL + MB_B | Unknown | FAM | GyrB | 20.54
H8 | Groundwater F + IL + MB_B | Unknown | FAM | GyrB | 19.47
H9 | Groundwater F + IL + MB_B | Unknown | FAM | GyrB | 20.27
H10 | F + IL + MB Extrac. Control_B | Unknown | FAM | GyrB | No Ct
H11 | F + IL + MB Extrac. Control_B | Unknown | FAM | GyrB | No Ct
H12 | F + IL + MB Extrac. Control_B | Unknown | FAM | GyrB | No Ct

## E. faecalis
Title: | Spiked Samples | [8 empty] | Title: | non-spiked Samples
Date/Time: | 27.05.2025 | 13:10:12 | [7 empty] | Date/Time: | 27.05.2025 | 15:00:24
Device: | qTOWER³/G | 3107B-1529 | [7 empty] | Device: | qTOWER³/G | 3107B-1529
Operator: | [9 empty] | Operator:
Comments: | [9 empty] | Comments:
Colors+Dyes: | Pos | Color Module | Dye | Gain | Meas | Refr |  |  |  | Colors+Dyes: | Pos | Color Module | Dye | Gain | Meas | Refr
| 1 | Blue.470.520.11.3 | FAM | 5 | * | [5 empty] | 1 | Blue.470.520.11.3 | FAM | 5 | *
| 2 | Green.515.545.11.2 | JOE | 5 | [6 empty] | 2 | Green.515.545.11.2 | JOE | 5
Heated Lid: | 100°C | [8 empty] | Heated Lid: | 100°C
TC Protocol: | steps | scan | °C | m:s | goto | loops | delta Temp(°C) | delta Time (s) | ramp (°C/s | TC Protocol: | steps | scan | °C | m:s | goto | loops | delta Temp(°C) | delta Time (s) | ramp (°C/s
| 1 |  | 95 | 05:00 | 0 | 0 | 0 | 0 | 8 |  | 1 |  | 95 | 05:00 | 0 | 0 | 0 | 0 | 8
| 2 |  | 95 | 00:15 | 0 | 0 | 0 | 0 | 8 |  | 2 |  | 95 | 00:15 | 0 | 0 | 0 | 0 | 8
| 3 | * | 60 | 01:00 | 2 | 39 | 0 | 0 | 6 |  | 3 | * | 60 | 01:00 | 2 | 39 | 0 | 0 | 6
Melt active: | No | [8 empty] | Melt active: | No
Meas. Repeats: | 3 | [8 empty] | Meas. Repeats: | 3
Color Comp.: | [9 empty] | Color Comp.:
Well | Sample name | Sample type | Dye | Gene | Ct |  |  |  |  | Well | Sample name | Sample type | Dye | Gene | Ct
A1 | 1 | Standard | FAM | 23S | No Ct |  |  |  |  | A1 | 1 | Standard | FAM | 23S | No Ct
A2 | 1 | Standard | FAM | 23S | 30.75 |  |  |  |  | A2 | 1 | Standard | FAM | 23S | No Ct
A3 | 1 | Standard | FAM | 23S | No Ct |  |  |  |  | A3 | 1 | Standard | FAM | 23S | No Ct
A4 | Wastewater P/C_A | Unknown | FAM | 23S | 13.81 |  |  |  |  | A4 | Wastewater n.S. P/C_A | Unknown | FAM | 23S | 19.05
A5 | Wastewater P/C_A | Unknown | FAM | 23S | 13.37 |  |  |  |  | A5 | Wastewater n.S. P/C_A | Unknown | FAM | 23S | 19.31
A6 | Wastewater P/C_A | Unknown | FAM | 23S | 9.46 |  |  |  |  | A6 | Wastewater n.S. P/C_A | Unknown | FAM | 23S | 19.75
A7 | Surface water QPS_A | Unknown | FAM | 23S | 11.41 |  |  |  |  | A7 | Surface water n.S. QPS_A | Unknown | FAM | 23S | 28.28
A8 | Surface water QPS_A | Unknown | FAM | 23S | 11.84 |  |  |  |  | A8 | Surface water n.S. QPS_A | Unknown | FAM | 23S | 29.23
A9 | Surface water QPS_A | Unknown | FAM | 23S | 10.51 |  |  |  |  | A9 | Surface water n.S. QPS_A | Unknown | FAM | 23S | 29.47
A10 | Groundwater F+ IL + MB_A | Unknown | FAM | 23S | 16.77 |  |  |  |  | A10 | Groundwater n.S. F+ IL + MB_A | Unknown | FAM | 23S | 27.49
A11 | Groundwater F+ IL + MB_A | Unknown | FAM | 23S | 16.29 |  |  |  |  | A11 | Groundwater n.S. F+ IL + MB_A | Unknown | FAM | 23S | 27.09
A12 | Groundwater F+ IL + MB_A | Unknown | FAM | 23S | 16.91 |  |  |  |  | A12 | Groundwater n.S. F+ IL + MB_A | Unknown | FAM | 23S | 27.4
B1 | 2 | Standard | FAM | 23S | 30.72 |  |  |  |  | B1 | 2 | Standard | FAM | 23S | 30.9
B2 | 2 | Standard | FAM | 23S | 30.54 |  |  |  |  | B2 | 2 | Standard | FAM | 23S | 30.14
B3 | 2 | Standard | FAM | 23S | 30.29 |  |  |  |  | B3 | 2 | Standard | FAM | 23S | 31.22
B4 | Wastewater P/C_B | Unknown | FAM | 23S | 14.87 |  |  |  |  | B4 | Wastewater n.S. P/C_B | Unknown | FAM | 23S | 16.8
B5 | Wastewater P/C_B | Unknown | FAM | 23S | 14.44 |  |  |  |  | B5 | Wastewater n.S. P/C_B | Unknown | FAM | 23S | 18.07
B6 | Wastewater P/C_B | Unknown | FAM | 23S | 15.17 |  |  |  |  | B6 | Wastewater n.S. P/C_B | Unknown | FAM | 23S | 17.4
B7 | Surface water QPS_B | Unknown | FAM | 23S | 9.66 |  |  |  |  | B7 | Surface water n.S. QPS_B | Unknown | FAM | 23S | 28.87
B8 | Surface water QPS_B | Unknown | FAM | 23S | 9.93 |  |  |  |  | B8 | Surface water n.S. QPS_B | Unknown | FAM | 23S | 29.09
B9 | Surface water QPS_B | Unknown | FAM | 23S | 10.77 |  |  |  |  | B9 | Surface water n.S. QPS_B | Unknown | FAM | 23S | 28.14
B10 | Groundwater F + IL + MB_B | Unknown | FAM | 23S | 16.42 |  |  |  |  | B10 | Groundwater n.S. F+ IL + MB_B | Unknown | FAM | 23S | 27.97
B11 | Groundwater F + IL + MB_B | Unknown | FAM | 23S | 15.92 |  |  |  |  | B11 | Groundwater n.S. F+ IL + MB_B | Unknown | FAM | 23S | 28.51
B12 | Groundwater F + IL + MB_B | Unknown | FAM | 23S | 16.2 |  |  |  |  | B12 | Groundwater n.S. F+ IL + MB_B | Unknown | FAM | 23S | 27.82
C1 | 3 | Standard | FAM | 23S | 28.41 |  |  |  |  | C1 | 3 | Standard | FAM | 23S | 27.96
C2 | 3 | Standard | FAM | 23S | 27.44 |  |  |  |  | C2 | 3 | Standard | FAM | 23S | 27.87
C3 | 3 | Standard | FAM | 23S | 28.58 |  |  |  |  | C3 | 3 | Standard | FAM | 23S | 27.14
C4 | Wastewater QPS_A | Unknown | FAM | 23S | 10.89 |  |  |  |  | C4 | Wastewater n.S. QPS_A | Unknown | FAM | 23S | 17.15
C5 | Wastewater QPS_A | Unknown | FAM | 23S | 10.65 |  |  |  |  | C5 | Wastewater n.S. QPS_A | Unknown | FAM | 23S | 16.31
C6 | Wastewater QPS_A | Unknown | FAM | 23S | 12.06 |  |  |  |  | C6 | Wastewater n.S. QPS_A | Unknown | FAM | 23S | 16
C7 | Surface water F+ IL + MB_A | Unknown | FAM | 23S | 16.57 |  |  |  |  | C7 | Surface water n.S. F+ IL + MB_A | Unknown | FAM | 23S | 30.16
C8 | Surface water F+ IL + MB_A | Unknown | FAM | 23S | 16.23 |  |  |  |  | C8 | Surface water n.S. F+ IL + MB_A | Unknown | FAM | 23S | 28.48
C9 | Surface water F+ IL + MB_A | Unknown | FAM | 23S | 15.79 |  |  |  |  | C9 | Surface water n.S. F+ IL + MB_A | Unknown | FAM | 23S | 30.02
C10 | P/C Extrac. Control_A | Unknown | FAM | 23S | No Ct |  |  |  |  | D1 | 4 | Standard | FAM | 23S | 25.04
C11 | P/C Extrac. Control_A | Unknown | FAM | 23S | No Ct |  |  |  |  | D2 | 4 | Standard | FAM | 23S | 25.47
C12 | P/C Extrac. Control_A | Unknown | FAM | 23S | No Ct |  |  |  |  | D3 | 4 | Standard | FAM | 23S | 25.15
D1 | 4 | Standard | FAM | 23S | 25.21 |  |  |  |  | D4 | Wastewater n.S. QPS_B | Unknown | FAM | 23S | 16.23
D2 | 4 | Standard | FAM | 23S | 25.49 |  |  |  |  | D5 | Wastewater n.S. QPS_B | Unknown | FAM | 23S | 16.14
D3 | 4 | Standard | FAM | 23S | 25.67 |  |  |  |  | D6 | Wastewater n.S. QPS_B | Unknown | FAM | 23S | 16.07
D4 | Wastewater QPS_B | Unknown | FAM | 23S | 11.66 |  |  |  |  | D7 | Surface water n.S. F+ IL + MB_B | Unknown | FAM | 23S | 30.61
D5 | Wastewater QPS_B | Unknown | FAM | 23S | 11.59 |  |  |  |  | D8 | Surface water n.S. F+ IL + MB_B | Unknown | FAM | 23S | 29.77
D6 | Wastewater QPS_B | Unknown | FAM | 23S | 12.44 |  |  |  |  | D9 | Surface water n.S. F+ IL + MB_B | Unknown | FAM | 23S | 30.26
D7 | Surface water F+ IL + MB_B | Unknown | FAM | 23S | 15.83 |  |  |  |  | E1 | 5 | Standard | FAM | 23S | 20.09
D8 | Surface water F+ IL + MB_B | Unknown | FAM | 23S | 15.21 |  |  |  |  | E2 | 5 | Standard | FAM | 23S | 21.32
D9 | Surface water F+ IL + MB_B | Unknown | FAM | 23S | 15.67 |  |  |  |  | E3 | 5 | Standard | FAM | 23S | 22.01
D10 | P/C Extrac. Control_B | Unknown | FAM | 23S | No Ct |  |  |  |  | E4 | Wastewater n.S. F+ IL + MB_A | Unknown | FAM | 23S | 20.88
D11 | P/C Extrac. Control_B | Unknown | FAM | 23S | No Ct |  |  |  |  | E5 | Wastewater n.S. F+ IL + MB_A | Unknown | FAM | 23S | 21.67
D12 | P/C Extrac. Control_B | Unknown | FAM | 23S | No Ct |  |  |  |  | E6 | Wastewater n.S. F+ IL + MB_A | Unknown | FAM | 23S | 22.16
E1 | 5 | Standard | FAM | 23S | 20.47 |  |  |  |  | E7 | Groundwater n.S. P/C_A | Unknown | FAM | 23S | 28.24
E2 | 5 | Standard | FAM | 23S | 21.67 |  |  |  |  | E8 | Groundwater n.S. P/C_A | Unknown | FAM | 23S | 27.16
E3 | 5 | Standard | FAM | 23S | 21.8 |  |  |  |  | E9 | Groundwater n.S. P/C_A | Unknown | FAM | 23S | 28.04
E4 | Wastewater F + IL + MB_A | Unknown | FAM | 23S | 16.97 |  |  |  |  | F1 | 6 | Standard | FAM | 23S | 18.59
E5 | Wastewater F + IL + MB_A | Unknown | FAM | 23S | 17.26 |  |  |  |  | F2 | 6 | Standard | FAM | 23S | 17.55
E6 | Wastewater F + IL + MB_A | Unknown | FAM | 23S | 18.31 |  |  |  |  | F3 | 6 | Standard | FAM | 23S | 17.69
E7 | Groundwater P/C_A | Unknown | FAM | 23S | 13.44 |  |  |  |  | F4 | Wastewater n.S. F+ IL + MB_B | Unknown | FAM | 23S | 22.27
E8 | Groundwater P/C_A | Unknown | FAM | 23S | 14.02 |  |  |  |  | F5 | Wastewater n.S. F+ IL + MB_B | Unknown | FAM | 23S | 21.67
E9 | Groundwater P/C_A | Unknown | FAM | 23S | 13.52 |  |  |  |  | F6 | Wastewater n.S. F+ IL + MB_B | Unknown | FAM | 23S | 21.73
E10 | QPS Extrac. Control_A | Unknown | FAM | 23S | No Ct |  |  |  |  | F7 | Groundwater n.S. P/C_B | Unknown | FAM | 23S | 29.27
E11 | QPS Extrac. Control_A | Unknown | FAM | 23S | No Ct |  |  |  |  | F8 | Groundwater n.S. P/C_B | Unknown | FAM | 23S | 27.33
E12 | QPS Extrac. Control_A | Unknown | FAM | 23S | No Ct |  |  |  |  | F9 | Groundwater n.S. P/C_B | Unknown | FAM | 23S | 28.72
F1 | 6 | Standard | FAM | 23S | 18.13 |  |  |  |  | G1 | 7 | Standard | FAM | 23S | 14.9
F2 | 6 | Standard | FAM | 23S | 18.07 |  |  |  |  | G2 | 7 | Standard | FAM | 23S | 15.09
F3 | 6 | Standard | FAM | 23S | 17.66 |  |  |  |  | G3 | 7 | Standard | FAM | 23S | 14.38
F4 | Wastewater F + IL + MB_B | Unknown | FAM | 23S | 17.79 |  |  |  |  | G4 | Surface water n.S. P/C_A | Unknown | FAM | 23S | No Ct
F5 | Wastewater F + IL + MB_B | Unknown | FAM | 23S | 17.35 |  |  |  |  | G5 | Surface water n.S. P/C_A | Unknown | FAM | 23S | No Ct
F6 | Wastewater F + IL + MB_B | Unknown | FAM | 23S | 17.16 |  |  |  |  | G6 | Surface water n.S. P/C_A | Unknown | FAM | 23S | No Ct
F7 | Groundwater P/C_B | Unknown | FAM | 23S | 14.54 |  |  |  |  | G7 | Groundwater n.S. QPS_A | Unknown | FAM | 23S | 22.36
F8 | Groundwater P/C_B | Unknown | FAM | 23S | 15.11 |  |  |  |  | G8 | Groundwater n.S. QPS_A | Unknown | FAM | 23S | 22.25
F9 | Groundwater P/C_B | Unknown | FAM | 23S | 14.98 |  |  |  |  | G9 | Groundwater n.S. QPS_A | Unknown | FAM | 23S | 21.58
F10 | QPS Extrac. Control_B | Unknown | FAM | 23S | No Ct |  |  |  |  | H1 | MM | NTC | FAM |  | No Ct
F11 | QPS Extrac. Control_B | Unknown | FAM | 23S | No Ct |  |  |  |  | H2 | MM | NTC | FAM |  | No Ct
F12 | QPS Extrac. Control_B | Unknown | FAM | 23S | No Ct |  |  |  |  | H3 | MM | NTC | FAM |  | No Ct
G1 | 7 | Standard | FAM | 23S | 15.02 |  |  |  |  | H4 | Surface water n.S. P/C_B | Unknown | FAM | 23S | No Ct
G2 | 7 | Standard | FAM | 23S | 14.95 |  |  |  |  | H5 | Surface water n.S. P/C_B | Unknown | FAM | 23S | No Ct
G3 | 7 | Standard | FAM | 23S | 15.23 |  |  |  |  | H6 | Surface water n.S. P/C_B | Unknown | FAM | 23S | No Ct
G4 | Surface water P/C_A | Unknown | FAM | 23S | 23.21 |  |  |  |  | H7 | Groundwater n.S. QPS_B | Unknown | FAM | 23S | 27.84
G5 | Surface water P/C_A | Unknown | FAM | 23S | 22.8 |  |  |  |  | H8 | Groundwater n.S. QPS_B | Unknown | FAM | 23S | 27.37
G6 | Surface water P/C_A | Unknown | FAM | 23S | 22.36 |  |  |  |  | H9 | Groundwater n.S. QPS_B | Unknown | FAM | 23S | 26.88
G7 | Groundwater QPS_A | Unknown | FAM | 23S | 11.2
G8 | Groundwater QPS_A | Unknown | FAM | 23S | 10.48
G9 | Groundwater QPS_A | Unknown | FAM | 23S | 11.01
G10 | F + IL + MB Extrac. Control_A | Unknown | FAM | 23S | No Ct
G11 | F + IL + MB Extrac. Control_A | Unknown | FAM | 23S | No Ct
G12 | F + IL + MB Extrac. Control_A | Unknown | FAM | 23S | No Ct
H1 | MM | NTC | FAM |  | No Ct
H2 | MM | NTC | FAM |  | No Ct
H3 | MM | NTC | FAM |  | No Ct
H4 | Surface water P/C_B | Unknown | FAM | 23S | 23.5
H5 | Surface water P/C_B | Unknown | FAM | 23S | 23.26
H6 | Surface water P/C_B | Unknown | FAM | 23S | 22.36
H7 | Groundwater QPS_B | Unknown | FAM | 23S | 9.92
H8 | Groundwater QPS_B | Unknown | FAM | 23S | 10.83
H9 | Groundwater QPS_B | Unknown | FAM | 23S | 11.15
H10 | F + IL + MB Extrac. Control_B | Unknown | FAM | 23S | No Ct
H11 | F + IL + MB Extrac. Control_B | Unknown | FAM | 23S | No Ct
H12 | F + IL + MB Extrac. Control_B | Unknown | FAM | 23S | No Ct

## HF183
Title: | Spiked Samples | [8 empty] | Title: | non-spiked Samples
Date/Time: | 28.05.2025 | 08:36:37 | [7 empty] | Date/Time: | 27.05.2025 | 16:24:13
Device: | qTOWER³/G | 3107B-1529 | [7 empty] | Device: | qTOWER³/G | 3107B-1529
Operator: | [9 empty] | Operator:
Comments: | [9 empty] | Comments:
Colors+Dyes: | Pos | Color Module | Dye | Gain | Meas | Refr |  |  |  | Colors+Dyes: | Pos | Color Module | Dye | Gain | Meas | Refr
| 1 | Blue.470.520.11.3 | FAM | 5 | * | [5 empty] | 1 | Blue.470.520.11.3 | FAM | 5 | *
| 2 | Green.515.545.11.2 | JOE | 5 | [6 empty] | 2 | Green.515.545.11.2 | JOE | 5
Heated Lid: | 100°C | [8 empty] | Heated Lid: | 100°C
TC Protocol: | steps | scan | °C | m:s | goto | loops | delta Temp(°C) | delta Time (s) | ramp (°C/s | TC Protocol: | steps | scan | °C | m:s | goto | loops | delta Temp(°C) | delta Time (s) | ramp (°C/s
| 1 |  | 95 | 05:00 | 0 | 0 | 0 | 0 | 8 |  | 1 |  | 95 | 05:00 | 0 | 0 | 0 | 0 | 8
| 2 |  | 95 | 00:15 | 0 | 0 | 0 | 0 | 8 |  | 2 |  | 95 | 00:15 | 0 | 0 | 0 | 0 | 8
| 3 | * | 60 | 01:00 | 2 | 44 | 0 | 0 | 6 |  | 3 | * | 60 | 01:00 | 2 | 44 | 0 | 0 | 6
Melt active: | No | [8 empty] | Melt active: | No
Meas. Repeats: | 3 | [8 empty] | Meas. Repeats: | 3
Color Comp.: | [9 empty] | Color Comp.:
Well | Sample name | Sample type | Dye | Gene | Ct |  |  |  |  | Well | Sample name | Sample type | Dye | Gene | Ct
A1 | 1 | Standard | FAM |  | 35.93 |  |  |  |  | A1 | 1 | Standard | FAM |  | 35.17
A2 | 1 | Standard | FAM |  | 36.83 |  |  |  |  | A2 | 1 | Standard | FAM |  | 35.77
A3 | 1 | Standard | FAM |  | 35.53 |  |  |  |  | A3 | 1 | Standard | FAM |  | No Ct
A4 | Surface water P/C_A | Unknown | FAM |  | 21.07 |  |  |  |  | A4 | Wastewater n.S. P/C_A | Unknown | FAM |  | 24.17
A5 | Surface water P/C_A | Unknown | FAM |  | 21.38 |  |  |  |  | A5 | Wastewater n.S. P/C_A | Unknown | FAM |  | 24.08
A6 | Surface water P/C_A | Unknown | FAM |  | 21.16 |  |  |  |  | A6 | Wastewater n.S. P/C_A | Unknown | FAM |  | 23.48
A7 | Groundwater QPS_A | Unknown | FAM |  | 20.47 |  |  |  |  | A7 | Surface water n.S. QPS_A | Unknown | FAM |  | 32.39
A8 | Groundwater QPS_A | Unknown | FAM |  | 20.43 |  |  |  |  | A8 | Surface water n.S. QPS_A | Unknown | FAM |  | 33.03
A9 | Groundwater QPS_A | Unknown | FAM |  | 20.62 |  |  |  |  | A9 | Surface water n.S. QPS_A | Unknown | FAM |  | 32.27
A10 | F + IL + MB Extrac. Control_A | Unknown | FAM |  | No Ct |  |  |  |  | A10 | Groundwater n.S. F+ IL + MB_A | Unknown | FAM |  | 31.39
A11 | F + IL + MB Extrac. Control_A | Unknown | FAM |  | No Ct |  |  |  |  | A11 | Groundwater n.S. F+ IL + MB_A | Unknown | FAM |  | 31.07
A12 | F + IL + MB Extrac. Control_A | Unknown | FAM |  | No Ct |  |  |  |  | A12 | Groundwater n.S. F+ IL + MB_A | Unknown | FAM |  | 31.55
B1 | 2 | Standard | FAM |  | 34.3 |  |  |  |  | B1 | 2 | Standard | FAM |  | 33.65
B2 | 2 | Standard | FAM |  | 34.39 |  |  |  |  | B2 | 2 | Standard | FAM |  | 34.17
B3 | 2 | Standard | FAM |  | 33.35 |  |  |  |  | B3 | 2 | Standard | FAM |  | 34.04
B4 | Surface water P/C_B | Unknown | FAM |  | 21.15 |  |  |  |  | B4 | Wastewater n.S. P/C_B | Unknown | FAM |  | 22.34
B5 | Surface water P/C_B | Unknown | FAM |  | 20.88 |  |  |  |  | B5 | Wastewater n.S. P/C_B | Unknown | FAM |  | 22.21
B6 | Surface water P/C_B | Unknown | FAM |  | 20.96 |  |  |  |  | B6 | Wastewater n.S. P/C_B | Unknown | FAM |  | 22.39
B7 | Groundwater QPS_B | Unknown | FAM |  | 20.38 |  |  |  |  | B7 | Surface water n.S. QPS_B | Unknown | FAM |  | 32.39
B8 | Groundwater QPS_B | Unknown | FAM |  | 20.29 |  |  |  |  | B8 | Surface water n.S. QPS_B | Unknown | FAM |  | 32.22
B9 | Groundwater QPS_B | Unknown | FAM |  | 20.21 |  |  |  |  | B9 | Surface water n.S. QPS_B | Unknown | FAM |  | 32.24
B10 | F + IL + MB Extrac. Control_B | Unknown | FAM |  | No Ct |  |  |  |  | B10 | Groundwater n.S. F+ IL + MB_B | Unknown | FAM |  | 32.06
B11 | F + IL + MB Extrac. Control_B | Unknown | FAM |  | No Ct |  |  |  |  | B11 | Groundwater n.S. F+ IL + MB_B | Unknown | FAM |  | 32.69
B12 | F + IL + MB Extrac. Control_B | Unknown | FAM |  | No Ct |  |  |  |  | B12 | Groundwater n.S. F+ IL + MB_B | Unknown | FAM |  | 32.34
C1 | 3 | Standard | FAM |  | 30.26 |  |  |  |  | C1 | 3 | Standard | FAM |  | 30.65
C2 | 3 | Standard | FAM |  | 30.49 |  |  |  |  | C2 | 3 | Standard | FAM |  | 30.83
C3 | 3 | Standard | FAM |  | 30.38 |  |  |  |  | C3 | 3 | Standard | FAM |  | 30.59
C4 | Surface water QPS_A | Unknown | FAM |  | 20.57 |  |  |  |  | C4 | Wastewater n.S. QPS_A | Unknown | FAM |  | 21.3
C5 | Surface water QPS_A | Unknown | FAM |  | 20.66 |  |  |  |  | C5 | Wastewater n.S. QPS_A | Unknown | FAM |  | 21.13
C6 | Surface water QPS_A | Unknown | FAM |  | 20.51 |  |  |  |  | C6 | Wastewater n.S. QPS_A | Unknown | FAM |  | 21.27
C7 | Groundwater F+ IL + MB_A | Unknown | FAM |  | 21.15 |  |  |  |  | C7 | Surface water n.S. F+ IL + MB_A | Unknown | FAM |  | 33.12
C8 | Groundwater F+ IL + MB_A | Unknown | FAM |  | 21.12 |  |  |  |  | C8 | Surface water n.S. F+ IL + MB_A | Unknown | FAM |  | 32.32
C9 | Groundwater F+ IL + MB_A | Unknown | FAM |  | 21.03 |  |  |  |  | C9 | Surface water n.S. F+ IL + MB_A | Unknown | FAM |  | 32.32
D1 | 4 | Standard | FAM |  | 27.95 |  |  |  |  | D1 | 4 | Standard | FAM |  | 27.63
D2 | 4 | Standard | FAM |  | 27.85 |  |  |  |  | D2 | 4 | Standard | FAM |  | 28.12
D3 | 4 | Standard | FAM |  | 28.05 |  |  |  |  | D3 | 4 | Standard | FAM |  | 28.15
D4 | Surface water QPS_B | Unknown | FAM |  | 20.2 |  |  |  |  | D4 | Wastewater n.S. QPS_B | Unknown | FAM |  | 21.12
D5 | Surface water QPS_B | Unknown | FAM |  | 20.37 |  |  |  |  | D5 | Wastewater n.S. QPS_B | Unknown | FAM |  | 21.07
D6 | Surface water QPS_B | Unknown | FAM |  | 19.95 |  |  |  |  | D6 | Wastewater n.S. QPS_B | Unknown | FAM |  | 21.1
D7 | Groundwater F + IL + MB_B | Unknown | FAM |  | 21.38 |  |  |  |  | D7 | Surface water n.S. F+ IL + MB_B | Unknown | FAM |  | 32.21
D8 | Groundwater F + IL + MB_B | Unknown | FAM |  | 21.05 |  |  |  |  | D8 | Surface water n.S. F+ IL + MB_B | Unknown | FAM |  | 31.83
D9 | Groundwater F + IL + MB_B | Unknown | FAM |  | 21.57 |  |  |  |  | D9 | Surface water n.S. F+ IL + MB_B | Unknown | FAM |  | 32.32
E1 | 5 | Standard | FAM |  | 23.5 |  |  |  |  | E1 | 5 | Standard | FAM |  | 23.55
E2 | 5 | Standard | FAM |  | 23.12 |  |  |  |  | E2 | 5 | Standard | FAM |  | 23.86
E3 | 5 | Standard | FAM |  | 23.56 |  |  |  |  | E3 | 5 | Standard | FAM |  | 23.5
E4 | Surface water F+ IL + MB_A | Unknown | FAM |  | 21.31 |  |  |  |  | E4 | Wastewater n.S. F+ IL + MB_A | Unknown | FAM |  | 20.83
E5 | Surface water F+ IL + MB_A | Unknown | FAM |  | 21.04 |  |  |  |  | E5 | Wastewater n.S. F+ IL + MB_A | Unknown | FAM |  | 20.59
E6 | Surface water F+ IL + MB_A | Unknown | FAM |  | 21.2 |  |  |  |  | E6 | Wastewater n.S. F+ IL + MB_A | Unknown | FAM |  | 20.57
E7 | P/C Extrac. Control_A | Unknown | FAM |  | No Ct |  |  |  |  | E7 | Groundwater n.S. P/C_A | Unknown | FAM |  | No Ct
E8 | P/C Extrac. Control_A | Unknown | FAM |  | No Ct |  |  |  |  | E8 | Groundwater n.S. P/C_A | Unknown | FAM |  | 36.4
E9 | P/C Extrac. Control_A | Unknown | FAM |  | No Ct |  |  |  |  | E9 | Groundwater n.S. P/C_A | Unknown | FAM |  | 35.93
F1 | 6 | Standard | FAM |  | 20.22 |  |  |  |  | F1 | 6 | Standard | FAM |  | 20.43
F2 | 6 | Standard | FAM |  | 20.43 |  |  |  |  | F2 | 6 | Standard | FAM |  | 20.44
F3 | 6 | Standard | FAM |  | 20.62 |  |  |  |  | F3 | 6 | Standard | FAM |  | 20.43
F4 | Surface water F+ IL + MB_B | Unknown | FAM |  | 20.52 |  |  |  |  | F4 | Wastewater n.S. F+ IL + MB_B | Unknown | FAM |  | 21.65
F5 | Surface water F+ IL + MB_B | Unknown | FAM |  | 20.7 |  |  |  |  | F5 | Wastewater n.S. F+ IL + MB_B | Unknown | FAM |  | 21.16
F6 | Surface water F+ IL + MB_B | Unknown | FAM |  | 20.4 |  |  |  |  | F6 | Wastewater n.S. F+ IL + MB_B | Unknown | FAM |  | 21.25
F7 | P/C Extrac. Control_B | Unknown | FAM |  | No Ct |  |  |  |  | F7 | Groundwater n.S. P/C_B | Unknown | FAM |  | 35.91
F8 | P/C Extrac. Control_B | Unknown | FAM |  | No Ct |  |  |  |  | F8 | Groundwater n.S. P/C_B | Unknown | FAM |  | 36.72
F9 | P/C Extrac. Control_B | Unknown | FAM |  | No Ct |  |  |  |  | F9 | Groundwater n.S. P/C_B | Unknown | FAM |  | 37.33
G1 | 7 | Standard | FAM |  | 17.84 |  |  |  |  | G1 | 7 | Standard | FAM |  | 16.89
G2 | 7 | Standard | FAM |  | 16.71 |  |  |  |  | G2 | 7 | Standard | FAM |  | 16.6
G3 | 7 | Standard | FAM |  | 17.33 |  |  |  |  | G3 | 7 | Standard | FAM |  | 17.2
G4 | Groundwater P/C_A | Unknown | FAM |  | 22.3 |  |  |  |  | G4 | Surface water n.S. P/C_A | Unknown | FAM |  | 31.3
G5 | Groundwater P/C_A | Unknown | FAM |  | 22.2 |  |  |  |  | G5 | Surface water n.S. P/C_A | Unknown | FAM |  | 31.49
G6 | Groundwater P/C_A | Unknown | FAM |  | 22.27 |  |  |  |  | G6 | Surface water n.S. P/C_A | Unknown | FAM |  | No Ct
G7 | QPS Extrac. Control_A | Unknown | FAM |  | No Ct |  |  |  |  | G7 | Groundwater n.S. QPS_A | Unknown | FAM |  | 30.26
G8 | QPS Extrac. Control_A | Unknown | FAM |  | No Ct |  |  |  |  | G8 | Groundwater n.S. QPS_A | Unknown | FAM |  | 29.57
G9 | QPS Extrac. Control_A | Unknown | FAM |  | No Ct |  |  |  |  | G9 | Groundwater n.S. QPS_A | Unknown | FAM |  | 29.64
H1 | MM | NTC | FAM |  | No Ct |  |  |  |  | H1 | MM | NTC | FAM |  | No Ct
H2 | MM | NTC | FAM |  | No Ct |  |  |  |  | H2 | MM | NTC | FAM |  | No Ct
H3 | MM | NTC | FAM |  | No Ct |  |  |  |  | H3 | MM | NTC | FAM |  | No Ct
H4 | Groundwater P/C_B | Unknown | FAM |  | 22.62 |  |  |  |  | H4 | Surface water n.S. P/C_B | Unknown | FAM |  | 33.03
H5 | Groundwater P/C_B | Unknown | FAM |  | 22.84 |  |  |  |  | H5 | Surface water n.S. P/C_B | Unknown | FAM |  | 33.86
H6 | Groundwater P/C_B | Unknown | FAM |  | 22.41 |  |  |  |  | H6 | Surface water n.S. P/C_B | Unknown | FAM |  | 33.37
H7 | QPS Extrac. Control_B | Unknown | FAM |  | No Ct |  |  |  |  | H7 | Groundwater n.S. QPS_B | Unknown | FAM |  | 33.58
H8 | QPS Extrac. Control_B | Unknown | FAM |  | No Ct |  |  |  |  | H8 | Groundwater n.S. QPS_B | Unknown | FAM |  | 32.35
H9 | QPS Extrac. Control_B | Unknown | FAM |  | No Ct |  |  |  |  | H9 | Groundwater n.S. QPS_B | Unknown | FAM |  | 35.11